## FIRE VALVES
FIRE SYSTEM PROTECTION VALVE INSPECTION
Account Number: 35023 | [8 empty] | Index Number: 023980.16-05
INSTRUCTIONS TO INSPECTOR: |  | Complete this form while inspecting fire protection. Send the completed form to your supervisor for nessesary action. The report should be held for review by the FM Global engineer who visits your facility.
FACILITY NAME: |  |  | FACILITY ADDRESS: |  |  |  | DATE:
Samaritan Hospital - Albany Memorial Campus |  |  | 600 Northern Blvd, Albany NY
Visually inspect all valves controlling sprinkler heads weekly for the open and locked position. Physically try all exterior valves monthly. Record inspection results below.
INTERIOR VALVES - VISUAL WEEKLY | [5 empty] | ü | ü | ü
# | VALVE LOCATION |  |  | AREA CONTROLLED |  | OPEN | CLOSED | LOCKED | ASSET #
1 | Valve Hut - 4 in. OS&Y - Prior to Backflow |  |  | Entire Site |  |  |  |  | 1565
2 | Valve Hut - 4 in. OS&Y - after Backflow |  |  | Entire Site |  |  |  |  | 1564
3 | West Wing Pump Room - 6 in. OS&Y Prior to Backflow |  |  | Entire Site |  |  |  |  | 1395
4 | West Wing Pump Room - 6 in. OS&Y after Backflow |  |  | Entire Site |  |  |  |  | 1396
5 | West Wing Pump Room - 6 in. OS&Y at Pump Suction |  |  | Entire Site |  |  |  |  | 1397
6 | West Wing Pump Room - 4 in. OS&Y Test Header (SHUT) |  |  | Test Header |  |  |  |  | 1398
7 | West Wing Pump Room - 3 in. OS&Y for Drain (SHUT) |  |  | Drain |  |  |  |  | 1399
8 | West Wing Pump Room - 6in. OS&Y at Pump Discharge |  |  | Entire Site |  |  |  |  | 1400
9 | West Wing Pump Room - 6in. OS&Y West end of Room |  |  | West Wing |  |  |  |  | 1507
10 | West Wing Pump Room - 6in. OS&Y West End of Room |  |  | West Wing |  |  |  |  | 1508
11 | West Wing Pump Room - 2 1/2 in. OS&Y North End of Room |  |  | O.R. |  |  |  |  | 1509
12 | West Wing Pump Room - 6in. OS&Y Cross-Over to Main |  |  | Main Building |  |  |  |  | 1562
13 | Main Sub-Gnd Pump Room - 8in. OS&Y Prior to Suction |  |  | Main Building |  |  |  |  | 1375
14 | Main Sub-Gnd Pump Room - 6in. OS&Y Prior to Check |  |  | Main Building |  |  |  |  | 1373
15 | Main Sub Gnd Pump Room - 6in. OS&Y Prior to Riser Check |  |  | Main Building |  |  |  |  | 1374
16 | Main Sub Gnd Pump Room - 6in. OS&Y |  |  | Main Building |  |  |  |  | 1376
17 | Main Sub Gnd Pump Room - 3in. OS&Y X-Over to Office Bld. |  |  | West Wing |  |  |  |  | 1378
18 | Main Sub Gnd Pump Room - 6in. OS&Y |  |  | Main Building |  |  |  |  | 1377
19 | Main Sub Gnd Hallway Int. - 2 1/2in. OS&Y |  |  | Center Stairwell |  |  |  |  | 1379
# | VALVE LOCATION |  |  | AREA CONTROLLED |  | OPEN | CLOSED | LOCKED | ASSET #
20 | Main Sub Gnd Chiller Room - 6in. OS&Y to Office Building |  |  | Office Building (Not Insured) |  |  |  |  | 1390
20 | Main Sub Gnd Center Stairwell - 6in. OS&Y |  |  | Main Building |  |  |  |  | 1391
21 | Main Sub Gnd Center Stairwell - 6in. OS&Y |  |  | Main Building |  |  |  |  | 1392
22 | Main Sub Gnd Center Stairwell - 2 1/2in. OS&Y |  |  | Sub Ground Areas |  |  |  |  | 1393
23 | Main 2nd Fl Center Stairwell - 2 1/2 in. IBV |  |  | Main Building - 2nd Floor Areas |  |  |  |  | 1389
24 | Main 3rd Fl Center Stairwell - 2 1/2in IBV |  |  | Main Building - 3rd Floor Areas |  |  |  |  | 1388
25 | Main 4th Fl Center Stairwell - 2 1/2in IBV |  |  | Main Building - 4th Floor Areas |  |  |  |  | 1387
26 | Main 5th Fl Center Stairwell - 2 1/2in IBV |  |  | Main Building - 5th Floor Areas |  |  |  |  | 1386
27 | Main 6th Fl Center Stairwell - 2 1/2in IBV |  |  | Main Building - 6th Floor Areas |  |  |  |  | 1385
28 | Main Sub Gnd North Stairwell - 6in. OS&Y |  |  | Main Building |  |  |  |  | 1394
29 | Lobby Stairwell - 4in. IBV |  |  | Lobby |  |  |  |  | 1383
30 | Lobby Stairwell - 4in. IBV |  |  | Nuelear Medicine |  |  |  |  | 1384
31 | Sub Gnd Housekeeping Closet - 6in OS&Y |  |  | Main Building |  |  |  |  | 1563
32 | Sub Gnd HVAC Shop - 2in. IBV | [7 empty] | 1380
33 | Sun Gnd HVAC Shop - 2in. IBV | [7 empty] | 1381
36 | Rear Stairs - Doctors Lot |  |  | Imaging Center |  |  |  |  | 1382
EXTERIOR VALVES - PHYSICAL MONTHLY
34 | Curb Valve Near Main Entrance |  |  | Entire Facility |  |  |  |  | 1515
WERE ANY VALVES CLOSED DURING THIS PERIOD? |  |  |  |  | (Y/N)
(Ensure a Main Drain Test is Performed Following Valve Closures)