## EYE WASH INSP
Albany Memorial Hospital SPHP
Weekly Eye Wash Station Inspection
NAME:
INSPECTION INSTRUCTIONS:
1) | Is eye wash station accesable and prominetly identified.
2) | Remove any caps on eye wash station.
3) | Push single action paddle to flow water.
4) | Flush system for a minimum of 3 - 5 minutes.
5) | Check temperature after 3 minutes.
6) | Release the push paddle.
7) | Replace the caps on the eye wash station.
8) | Complete the log sheet and note any comments.
9) | If a significant issue is found that needs to be addressed ASAP contact Safety Manager.
| - | No water Flow or low pressure.
| - | Leaking Lines.
| - | Discolored Water.
| ASSET |  | 3-5 MIN | WATER
DATE | NUMBER | LOCATION | FLUSH | TEMP | COMMENTS
| 1425 | Heart Program
| 1426 | OR Decontamination
| 1427 | OR Center Core
| 1428 | TB Room / Lab
| 1369 | Main Lab
| 1424 | Grossing Room
| 1431 | Micro Lab
| 1559 | Endo
| 1432 | Central Sterile
| 1511 | Kitchen
| 1434 | Trash Room
| 1435 | Sub Ground EVS
| 1568 | Boiler Room

## EYE WASH INSP - ASSETS
Albany Memorial Hospital SPHP
Weekly Eye Wash Station Inspection
NAME:
INSPECTION INSTRUCTIONS:
1) | Is eye wash station accesable and prominetly identified.
2) | Remove any caps on eye wash station.
3) | Push single action paddle to flow water.
4) | Flush system for a minimum of 3 - 5 minutes.
5) | Check temperature after 3 minutes.
6) | Release the push paddle.
7) | Replace the caps on the eye wash station.
8) | Complete the log sheet and note any comments.
9) | If a significant issue is found that needs to be addressed ASAP contact Safety Manager.
| - | No water Flow or low pressure.
| - | Leaking Lines.
| - | Discolored Water.
| ASSET |  | 3-5 MIN | WATER
DATE | NUMBER | LOCATION | FLUSH | TEMP | COMMENTS
| 1369 | Main Lab
| 1424 | Grossing Room
| 1425 | Heart Program
| 1426 | OR Decontamination
| 1427 | OR Center Core
| 1428 | TB Room / Lab
| 1431 | Micro Lab
| 1432 | Central Sterile
| 1434 | Trash Room
| 1435 | Sub Ground EVS
| 1511 | Kitchen
| 1559 | Endo
| 1568 | Boiler Room