## DAILY LOG
DATE: | [5 empty] | TECH:
AMH - WATER MANAGEMENT - FIXTURE FLUSHING
SAMPLE # | LOCATION | HW TEMP | COPPER / SILVER <.20 | CL2 - MG/L <.25 | CW TEMP | CL2 - MG/L <.25 | Notes
1 | 6N RM 619
2 | 6W - WAITING ROOM
3 | 5N RM -515
4 | 5S RM - 509
5 | 4N RM - 415
6 | 4S - CORRIDOR SINK
7 | CCD - 438.01
8 | CCD - 440.01
9 | 3N - CORRIDOR SINK
10 | 3S - EXAM ROOM 2
11 | PACU - CLEAN UTILITY
12 | OR - ARU HOLDING AREA
13 | 2N - CORRIDOR SINK
14 | 2S - CORRIDOR SINK
15 | ED - ACROSS EX RM 16
16 | PUMP HOUSE - CW MAIN | NA | NA | NA
17 | KITCHEN - POT SINK
18 | SG BATH RM / LAUNDRY
19 | MAIN BUILDING HW HEATERS |  |  |  | NA | NA
20 | DOM WATER HW RETURN |  |  |  | NA | NA
DECONTAMINATION SHOWERS
| Location ------> |  | Time | Decon 1 | Decon 2 | Mixing Valve | Notes
| Temp 5 Min |  | :
| Temp 20 Min |  | :

## CS - WATER SAMPLES
SAMPLE | TIME | AREA | LOCATION | SWAB / LIQUID | LEG / CS | COMMENTS
1 | : | 6 - NORTH | RM 619 | LIQUID
2 | : | 6 - WEST | WAITING ROOM | LIQUID
3 | : | 4 - NORTH | CORRIDOR SHOWER | LIQUID
4 | : | 4 - SOUTH | CORRIDOR SINK | LIQUID
5 | : | 4 - CCD | 438.01 | LIQUID
6 | : | 4 - CCD | 440.01 | LIQUID
7 | : | 3 - NORTH | CORRIDOR SINK | LIQUID
8 | : | 3 - SOUTH | EXAM RM ___ | LIQUID
9 | : | 2 - NORTH | CORRIDOR SINK | LIQUID
10 | : | EMERGENCY DEPT | X EX RM 16 | LIQUID
11 | : | COOLING TOWER | MAIN (DOC LOT) | LIQUID
12 | : | HEADER DRAIN | SG | LIQUID
13 | :
14 | :
15 | :
16 | :
17 | :
NOTE: Remove aerator from sink. Run water until water is at set point temperature.

## LEG - WATER SAMPLES
DATE: |  |  | TECH:
AM - WATER TESTING SINKS
SAMPLE # | LOCATION | TIME | CS / LEG | NOTES
1 | 6N RM 619
2 | 6W - WAITING ROOM
3 | 5N -515
4 | 5S - 509
5 | 4N - 415
6 | 4S - CORRIDOR SINK
7 | CCD - 438.01
8 | CCD - 440.01
9 | 3N - CORRIDOR SINK
10 | 3S - EXAM ROOM 2
11 | PACU - CLEAN UTILITY
12 | OR - ARU HOLDING AREA
13 | 2N - CORRIDOR SINK
14 | 2S - CORRIDOR SINK
15 | ED - ACROSS EX RM 16
16 | PUMP HOUSE - CW MAIN
17 | KITCHEN - POT SINK
18 | SG BATH RM / LAUNDRY
19 | MAIN BUILDING HW HEATERS
20 | DOM WATER HW RETURN

## MONTHLY REPORT
DATE: | [5 empty] | TECH:
AMH - WATER MANAGEMENT - FIXTURE FLUSHING
| LOCATION | HW TEMP | CL2 - MG/L | CW TEMP | CL2 - MG/L | Notes
1 | 6N RM 619
2 | 6W - WAITING ROOM
3 | 5N -515
4 | 5S - 509
5 | 4N - 415
6 | 4S - CORRIDOR SINK
7 | CCD - 438.01
8 | CCD - 440.01
9 | 3N - CORRIDOR SINK
10 | 3S - EXAM ROOM 2
11 | PACU - CLEAN UTILITY
12 | OR - ARU HOLDING AREA
13 | 2N - CORRIDOR SINK
14 | 2S - CORRIDOR SINK
15 | ED - ACROSS EX RM 16
16 | PUMP HOUSE - CW MAIN | NA | NA
17 | KITCHEN - POT SINK
18 | SG BATH RM / LAUNDRY
19 | MAIN BUILDING HW HEATERS |  |  | NA | NA
20 | DOM WATER HW RETURN |  |  | NA | NA

## COPPER HOT WATER (OLD)
Burn Times | Area to Flush | # | Time | Temp 1 Min | Temp 5 Min | Residual PPM | Temp 15 Min | Residual PPM | Total Flush Time
2030 - 2100 | SG Return |  | : | NA |  |  | NA | NA | NA
2230 - 2300 | 6th Fl Med Surg N |  | :
0030 - 0100 | 6th Fl Med Surg S |  | :
0230 - 0300 | 6th Fl Med Surg WR |  | :
0430 - 0500 | 4th Fl Med Surg |  | :
0630 - 0700 | 4 West / CCD A |  | :
| 4 West / CCD B |  | :
| 3rd Fl - ASU |  | :
| 2nd Fl - Endo |  | :
| Emergency Dept A |  | :
| Emergency Dept B |  | :
| 1 - North Wing |  | :
NOTES / COMMENTS
03/04/2019: INSTALLED SOCK FILTER ON HOT WATER LOOP. 03/18/2019: NEW SOCK FILTER INSTALLED - JW. 03/28/2019: REPLACED SOCK FILTER - TRP.
04/11/2019: REPLACED SOCK FILTER - TRP 04/26/2019: REPLACED SOCK FILTER - TRP. 05/07/2019: REPLACED SOCK FILTER - JW. 06/11/2019: NEW CYLINDERS INSTALLED - JW.
08/2019: SOCK FILTER REMOVED, CYLINDERS CLEANED. NEW CYLINDERS ON ORDER - TRP. 09/19/2019: SYSTEM SHUT DOWN. AWAITING DELIVERY OF NEW CYLINDERS. - TRP.
09/24/2019: NEW CYLINDERS INSTALLED - TRP. 11/20/2019: SYSTEM SHUT DOWN - NEW CYLINDERS ORD - HW TEMPS ONLY - TRP 11/25/2019: NEW CYLINDERS INSTALLLED - JW
03/25/2020 - NEW CYLINDERS ORDERED - TRP - 04/21/2020 CYLINDERS CLEANED - JW - 07/14/2020 - NEW CYLINDERS INSTALLED - NEW SLEEVES INSTALLED - TRP/JW -
DECONTAMINATION SHOWERS
| Location |  | Time | Decon 1 | Decon 2 | Mixing Valve Temp |  | Notes
| Temp 5 Min |  | :
| Temp 20 Min |  | :

## CL2 COLD WATER (OLD)
| # | Time | Oxygen Reduction |  | Water Flow |  | Chlorine Dioxide MG/L (>.25) |  |  |  | Comments
|  |  | Potential (ORP) |  | GPM |  | Meter |  | Water Sample
Cold Water Supply |  | :
Location | # | Time | Cold Water Temp *F |  |  |  | Chlorine Dioxide MG/L (>.25) |  |  |  | Comments
3 - 4 SAMPLES - 5 MIN INT------> |  |  | A | B | C | D | A | B | C | D
6th Fl Med Surg N |  | :
6th Fl Med Surg S |  | :
6th Fl Med Surg WR |  | :
4th Fl Med Surg |  | :
4 West / CCD A |  | :
4 West / CCD B |  | :
3rd Fl - ASU |  | :
2nd Fl - Endo |  | :
Emergency Dept. A |  | :
Emergency Dept. B |  | :
1 - North Wing |  | :
09/18/2019: CL2 UNIT OFF (Unit to be shut down for 6 months. Copper piping showing signs for wear).

## M - WATER SAMPLES (OLD)
Time | Location | Hot Water Temp | Copper-Silver Residual | Comments
6 - South
5 - North
4 - South
4 - CCD
3 - North
2 - South
1 - North Wing
1 - Rehabilitation Services
Surgical Suite - PACU
Surgical Suite - Holding
E.D - Room 5
E.D - Room Fastrack
Imaging Dept. - CT
Imaging Dept. - Waiting
Ground - Kitchen
SG - Bathroom