## FIRE EXT INSPECTION
FIRE EXTINGUISHER INSPECTION - Albany Memorial Hospital
| PG | ASSET # | BUILDING | LOCATION DESCRIPTION | Type of Extinguisher | Model Number | Serial Number | CHK |  | NOTES / COMMENTS
001 | Page 1 | 0001021 | Main Building | ELEVATOR PENTHOUSE WEST WING | ABC | B456 | CG-560540 |  | TRP
002 |  | 0001022 | Main Building | 7TH FL STAIRWELL WEST WING | ABC | AA05 | ZH-422494 |  | TRP
003 |  | 0001023 | Main Building | 6th Floor SOUTH HALLWAY | ABC | AA05 | ZP-692267 |  | TRP
004 |  | 0001024 | Main Building | 6th Floor WEST WING | ABC | B402 | CE-526829 |  | TRP
005 |  | 0001025 | Main Building | 6th Floor SERVICE ELEVATOR | ABC | AA05 | ZH-422499 |  | TRP
006 |  | 0001027 | Main Building | MAIN STAIRWELL TOP OF LANDING | ABC | AA05 | VS-482087 |  | TRP
007 |  | 0001028 | Main Building | ELEVATOR PENTHOUSE | ABC | B456 | CG-560538 |  | TRP
008 | Page 2 | 0001029 | Main Building | 5th Floor SOUTH HALLWAY | ABC | B402 | CE-526109 |  | TRP
009 |  | 0001030 | Main Building | 5th Floor WEST WING | ABC | AA05 | ZP-692279 |  | TRP
010 |  | 0001031 | Main Building | 5th Floor SERVICE ELEVATOR | ABC | AA05 | XR-937316 |  | TRP
011 |  | 0001032 | Main Building | 5th Floor NORTH HALLWAY | ABC | B402 | CE-524118 |  | TRP
012 |  | 0001033 | Main Building | ADMINISTRATION | ABC | AA05 | VS-479416 |  | TRP
013 |  | 0001034 | Main Building | 4th Floor SOUTH HALLWAY | ABC | B402 | CE-526103 |  | TRP
014 |  | 0001035 | Main Building | 4th Floor SERVICE ELEVATOR | ABC | AA05 | ZP-692256 |  | TRP
015 | Page 3 | 0001036 | Main Building | 4th Floor NORTH HALLWAY | ABC | B402 | CE-500347 |  | TRP
016 |  | 0001037 | Main Building | 4th Floor DTCA HALLWAY | ABC | AA05 | VS-479404 |  | TRP
017 |  | 0001038 | West Wing | HALLWAY 1 | ABC | AA05 | ZP-692255 |  | TRP
018 |  | 0001039 | West Wing | HALLWAY 2 | ABC | B402 | CE-526102 |  | TRP
019 |  | 0001040 | West Wing | Cardio- Pulmonary HALLWAY | ABC | B402 | CE-502018 |  | TRP
020 |  | 0001041 | West Wing | MECHANICAL ROOM | ABC | B456 | CG-560535 |  | TRP
021 |  | 0001042 | West Wing | Infusion / Heart Program | ABC | B402 | CE-502524 |  | TRP
022 | Page 4 | 0001043 | West Wing | CCD | ABC | B402 | CE-525508 |  | TRP
023 |  | 0001044 | Main Building | 3RD FLOOR SOUTH HALLWAY | ABC | B402 | CE-521608 |  | TRP
024 |  | 0001045 | Main Building | 3RD FLOOR WEST WING | ABC | AA05 | XR-937400 |  | TRP
025 |  | 0001046 | Main Building | 3RD FLOOR SERVICE ELEVATOR | ABC | AA05 | SN-990035 |  | TRP
026 |  | 0001047 | Main Building | 3RD FLOOR NORTH HALLWAY | ABC | B402 | SNCE-525512 |  | TRP
027 |  | 0001048 | Main Building | 3RD FLOOR NURSE ADMIN | ABC | AA05 | WK-936817 |  | TRP
028 |  | 0001049 | Main Building | Room 615 Hyperbolic Chambers | ABC | B402 | CE-503150 |  | TRP
029 | Page 5 | 0001050 | Main Building | 2ND FLOOR WEST WING HALLWAY | ABC | AA05 | VS-479415 |  | TRP
030 |  | 0001051 | Main Building | 2ND FLOOR SERVICE ELEVATOR | ABC | AA05 | VS-479418 |  | TRP
031 |  | 0001052 | Main Building | 2ND FLOOR NORTH HALLWAY | ABC | B402 | CE-526831 |  | TRP
032 |  | 0001053 | Main Building | HOSE CABINET | ABC | AA05 | XR-937375 |  | TRP
033 |  | 0001054 | Main Building | BEFORE STAIRS | ABC | B402 | CE-515963 |  | TRP
034 |  | 0001055 | Main Building | NORTH HALLWAY | ABC | AA05 | VS-479423 |  | TRP
035 | P5 | 0001056 | Main Building | BACK DOOR | ABC | AA05 | VS-479426 |  | TRP
036 | Page 6 | 0001057 | Main Building | MECH RM | ABC | B456 | CG-560534 |  | TRP
037 |  | 0001058 | Main Building | TOP OF RAMP | Water Mist | B270 | AC-344551 |  | TRP
038 |  | 0001059 | Main Building | UPPER BACK WALL | ABC | B456 | CG-567291 |  | TRP
039 |  | 0001060 | West Wing | FRONT DESK HALLWAY HOSE CABINET | BC | 322 | R-232755 | ü | RS
040 |  | 0001064 | West Wing | BY PACU HOSE CABINET | Water Mist | B270 | AC-345020 | ü | RS
041 |  | 0001065 | West Wing | BY ROOM 5 HOSE CABINET | ABC | AA05 | ZP-692269 | ü | RS
042 |  | 0001067 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937389 | ü | RS
043 | Page 7 | 0001068 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937377 | ü | RS
044 |  | 0001069 | West Wing | BY ROOM 1 HOSE CABINET | Water Mist | B270 | AC-344545 | ü | RS
045 |  | 0001070 | West Wing | BY RM 4 HOSE CABINET | Water Mist | B270 | AC-344540 | ü | RS
046 |  | 0001071 | West Wing | CORE HOSE CABINET | ABC | B456 | YE-638206 | ü | RS
047 |  | 0001072 | Main Building | ELECT. SHOP | BC | FE02 | FE-347374 |  | TRP | PRE ADMIT TESTING TENT
048 |  | 0001073 | West Wing | FRONT DESK HOSE CABINET | ABC | AA05 | WK-936837 | ü | RS
049 |  | 0001074 | Main Building | 1ST FLOOR SOUTH HALLWAY | ABC | AA05 | VS-479425 |  | TRP
050 | Page 8 | 0001075 | Main Building | 1ST FLOOR NORTH HALLWAY | ABC | AA05 | WK-936843 |  | TRP
051 |  | 0001076 | North Wing | UPSTAIRS | ABC | B402 | CE-515954 |  | TRP
052 |  | 0001077 | North Wing | DOWN STAIRS | ABC | B402 | CE-525510 |  | TRP
053 |  | 0001078 | Main Building | 1ST FLOOR NORTH WING HALLWAY | ABC | AA05 | VS-479419 |  | TRP
054 |  | 0001079 | Main Building | CONKLIN ROOM | ABC | AA05 | VS-479405 |  | TRP
055 |  | 0001080 | North Wing | TOP OF STAIRS | ABC | B402 | CE-502525 |  | TRP
056 |  | 0001081 | North Wing | DOWN STAIRS | ABC | B402 | CE-526830 |  | TRP
057 | Page 9 | 0001082 | Main Building | FRONT DESK | ABC | B402 | CE-525509 |  | TRP
058 |  | 0001083 | Main Building | BY SEVICE ELEVATOR AREA | ABC | B402 | CE-525517 |  | TRP
059 |  | 0001084 | Main Building | PHYSICAL THERAPY ROOM | ABC | B402 | CE-500348 |  | TRP
060 |  | 0001085 | Main Building | 1ST FLOOR HALLWAY FROM LOBBY | ABC | AA05 | ZP-692252 |  | TRP
061 |  | 0001086 | West Wing | X-RAY - BACK HALLWAY | ABC | AA05 | VS-479401 |  | TRP
062 |  | 0001087 | West Wing | HALLWAY | Water Mist | B270 | X-398037 |  | TRP
063 |  | 0001088 | West Wing | HALLWAY | Water Mist | B270 | X-378279 |  | TRP
064 | Page 10 | 0001089 | West Wing | ED BEHIND MAIN DESK | ABC | AA05 | ZP-692270 |  | TRP
065 |  | 0001090 | West Wing | BACKSIDE PACU | ABC | AA05 | ZP-692239 | ü | RS
066 |  | 0001091 | West Wing | TRIAGE | ABC | AA05 | XR-937382 |  | TRP
067 |  | 0001092 | Main Building | GIFT SHOP | ABC | AA05 | VS-479407 |  | TRP
068 |  | 0001093 | Main Building | GROUND SOUTH HALLWAY | ABC | B456 | CG-566502 |  | TRP
069 | P10 | 0001094 | Main Building | GROUND NORTH HALLWAY | ABC | B456 | CG-560544 |  | TRP
070 |  | 0001095 | Main Building | CABINET BY ELCTRIC SHOP | ABC | B456 | CG-567288 |  | TRP
071 | Page 11 | 0001096 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755444 | ü | RS
072 |  | 0001097 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755491 | ü | RS
073 |  | 0001098 | Main Building | GROUND CAFE HOSE CABINET | ABC | B402 | CE-5256104 |  | TRP
074 |  | 0001099 | Main Building | GROUND CAFE GRILL | ABC | LA-0191 | W-0008985 |  | TRP
075 |  | 0001100 | Main Building | GROUND KITCHEN OFFICE | ABC | LA-0191 | W-0008978 |  | TRP
076 |  | 0001101 | Main Building | GROUND KITCHEN OFFICE | ABC | B456 | CG-565539 |  | TRP
077 |  | 0001102 | Main Building | GROUND KITCHEN ENTRANCE | ABC | B456 | CG-566504 |  | TRP
078 | Page 12 | 0001103 | Main Building | GROUND PHONE ROOM | BC | CA-0581 | V-755438 | ü | RS
079 |  | 0001104 | West Wing | GROUND WEST WING MAIN HALLWAY | ABC | AA05 | VS-479422 |  | TRP
080 |  | 0001105 | West Wing | Ground Floor Distribution | ABC | B456 | CG-560073 |  | TRP
081 |  | 0001106 | West Wing | Ground Floor Distribution | ABC | B456 | CG-563034 |  | TRP
082 |  | 0001107 | Main Building | GRND WEST WING MECH RM TOP STAIRS | ABC | B456 | CG-566503 |  | TRP
083 |  | 0001109 | Main Building | GRND WEST WING MECH RM GENERATOR | ABC | B456 | CG-567287 |  | TRP
084 |  | 0001110 | Main Building | GRND WEST WING MECH RM BY DOOR | ABC | B456 | CG-506543 |  | TRP
085 | Page 13 | 0001111 | Main Building | GRND WEST WING MECH RM MTR CONTROL | ABC | B456 | CG-560072 |  | TRP
086 |  | 0001113 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563035 |  | TRP
087 |  | 0001114 | Main Building | GRND WEST WING MECH RM AIR COMP | ABC | B456 | CG-566505 |  | TRP
088 |  | 0001115 | Main Building | GRND WEST WING MECH RM BACK AIR | ABC | B456 | CG-565540 |  | TRP
089 |  | 0001116 | Main Building | GRND WEST WING MECH RM BY BELTS | ABC | B456 | CG-560539 |  | TRP
090 |  | 0001117 | West Wing | OUTSIDE ROOM 4 | ABC | AA05 | XR-937376 | ü | RS
091 |  | 0001118 | East Wing | GND FL - TRAINING ROOM 5 | ABC | AA05 | XR-957387 |  | TRP
092 | Page 14 | 0001119 | Main Building | 2 SOUTH | ABC | AA05 | XR-937404 |  | TRP
093 |  | 0001121 | Main Building | SUB GRND GOING INTO MECH RM | BC | SY-0572 | W-185396 |  | TRP
094 |  | 0001123 | Main Building | SUB GRND SOUTH HALLWAY | ABC | B402 | CE-525516 |  | TRP
095 |  | 0001125 | East Wing | OLD LIBRARY - TRAINING ROOM 9 | ABC | AA05 | VS-479402 |  | TRP
096 |  | 0001127 | Main Building | SUB GRND OLD LAUNDRY | ABC | AA05 | VS-482083 |  | TRP
097 |  | 0001128 | Main Building | SUB GRNDB HVAC SHOP | ABC | B456 | CG-567290 |  | TRP
098 |  | 0001131 | Main Building | GARAGE | ABC | TGP-10G | NJ-618651 |  | TRP
099 | Page 15 | 0001132 | Main Building | SUB GRND SPILL CART | ABC | AA05 | XR-937388 |  | TRP
100 |  | 0001133 | Main Building | SUB GRND MAIN OFFICE | ABC | AA05 | Y-586530 |  | TRP
101 |  | 0001134 | Main Building | SUB GRND NORTH HALLWAY | ABC | B456 | CG-560536 |  | TRP
102 |  | 0001135 | Main Building | 6th Floor NORTH HALLWAY | ABC | AA05 | X-586530 |  | TRP
103 | Page 15 | 0001136 | Main Building | SUB GRND STOCK ROOM | ABC | B402 | CE-500349 |  | TRP
104 |  | 0001138 | Main Building | SUB GRND PAINT SHOP | ABC | AA05 | WK-936855 |  | TRP
105 |  | 0001139 | Main Building | SUB GRND PLUMBING CART | ABC | AA05 | VS-479427 |  | TRP
106 | Page 16 | 0001140 | Main Building | BOILER ROOM | BC | 322 | R-232747 |  | TRP
107 |  | 0001141 | Main Building | BOILER ROOM HOT WORK | ABC | 4-A60 BC | BR-290379 |  | TRP
108 |  | 0001142 | Main Building | GROUND NORTH HALLWAY WASTE ROOM | ABC | B456 | CG-566507 |  | TRP
109 |  | 0001143 | Main Building | GROUND WASTE ROOM HALLWAY | ABC | B456 | CG-565538 |  | TRP
110 |  | 0001144 | Main Building | GROUND WASTE ROOM EXIT | ABC | B456 | CG-566503 |  | TRP
111 |  | 0001145 | West Wing | OUTSIDE ROOM 5 | ABC | AA05 | XR-937390 | ü | RS
112 |  | 0001146 | Grounds | CARP SHOP | ABC | B456 | C-99213604 |  | TRP
113 | Page 17 | 0001147 | Grounds | GARAGE | ABC | AA05 | VK-446012 |  | TRP
114 |  | 0001149 | Main Building | GRND WEST WING MECH RM FIRE PANEL | ABC | B456 | KP-181521 |  | TRP
115 |  | 0001150 | East Wing | PENTHOUSE FOR ELEVATOR | ABC | AA05 | XR-937405 |  | TRP
116 |  | 0001151 | East Wing | 3rd EAST HALLWAY | ABC | AA05 | ZP-692228 |  | TRP
117 |  | 0001152 | East Wing | 3rd HALLWAY | ABC | AA05 | ZP-692276 |  | TRP
118 |  | 0001153 | East Wing | 3rd CENTER HALLWAY | ABC | AA05 | VS-479417 |  | TRP
119 |  | 0001154 | East Wing | 2nd BY ELEVATOR | ABC | B456 | XN-299086 |  | TRP
120 | Page 18 | 0001155 | East Wing | 2nd CENTER PAST DOOR | ABC | B456 | XN-305923 |  | TRP
121 |  | 0001156 | East Wing | 2nd NORTH HALLWAY | ABC | TGP-10G | NW-319556 |  | TRP
122 |  | 0001157 | East Wing | 2nd HAND CENTER | ABC | TGP-10G | NW-319615 |  | TRP
123 |  | 0001158 | Main Building | CABINET BY ELCTRIC SHOP | ABC | AA05 | ZP-692286 |  | TRP
124 |  | 0001159 | Main Building | CABINET BY ELCTRIC SHOP | ABC | AA05 | ZP-692266 |  | TRP
125 |  | 0001160 | East Wing | 1st CENTER HALLWAY | ABC | AA05 | XR-937403 |  | TRP
126 |  | 0001161 | West Wing | BACK HALLWAY | ABC | AA05 | ZP-692239 |  | TRP
127 | Page 19 | 0001162 | East Wing | GND EAST HALLWAY | ABC | SY-1014 | MU-714457 |  | TRP
128 |  | 0001163 | East Wing | GND NORTH HALLWAY | ABC | AA05 | ZP-692262 |  | TRP
129 |  | 0001164 | East Wing | GND PUMP ROOM | ABC | B402 | E-93410496 |  | TRP
130 |  | 0001165 | Main Building | CABINET BY ELCTRIC SHOP | ABC | B402 | CE-524116 |  | TRP
131 |  | 0001167 | Main Building | CABINET BY ELCTRIC SHOP | ABC | B456 | CG-563042 |  | TRP
132 |  | 0001168 | Main Building | BIO MED | BC | 322 | R-232766 | ü | RS
133 |  | 0001169 | Main Building | Pharmacy | ABC | AA05 | VS-479406 |  | TRP
134 | Page 20 | 0001170 | Main Building | SUB GRND PUMP ROOM | BC | 332 | F-87312242 |  | TRP
135 |  | 0001171 | Main Building | WASTE ROOM LAB AREA | BC | 332 | F-87312257 |  | TRP
136 |  | 0001172 | West Wing | O.R. 1 | Water Mist | B270CG | AD-914127 | ü | RS
137 | Page 20 | 0001173 | West Wing | O.R. 2 | Water Mist | B270CG | AD-914067 | ü | RS
138 |  | 0001174 | West Wing | O.R. 3 | Water Mist | B270CG | AD-914073 | ü | RS
139 |  | 0001175 | West Wing | O.R. 4 | Water Mist | B270CG | AD-914074 | ü | RS
140 |  | 0001176 | West Wing | O.R. 5 | Water Mist | B270CG | AD-914054 | ü | RS
141 | Page 21 | 0001177 | West Wing | O.R. 6 | Water Mist | B270CG | AD-914124 | ü | RS
142 |  | 0001178 | West Wing | O.R. 7 | Water Mist | B270CG | AD-914132 | ü | RS
143 |  | 0001179 | West Wing | O.R. 8 | Water Mist | B270CG | AD-914066 | ü | RS
144 |  | 0001180 | West Wing | O.R. 9 | Water Mist | B270CG | AD-914126 | ü | RS
145 |  | 0001181 | West Wing | O.R. 10 | Water Mist | B270CG | AD-914104 | ü | RS
146 |  | 0001516 | Main Building | Penthouse west wing (at&t) | HALOTRON | 397 | V640477 |  | TRP
147 |  | 0001553 | Main Building | SECURITY | ABC | TGP106 | NW-343182 |  | TRP
148 | Page 22 | 0001554 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563038 |  | TRP
149 |  | 0001555 | Main Building | GROUND CENTER HALLWAY | ABC | SY-0614 | JL-180724 |  | TRP
150 |  | 0001556 | Main Building | GROUND WASTE ROOM | ABC | SY-0614 | JL-180713 |  | TRP
151 |  | 0001557 | Main Building | SUB GRND PRINT ROOM | ABC | AA05 | ZP-692257 |  | TRP
152 |  | 0001582 | East Wing | GND FL - TRAINING ROOM 4 | ABC | 5A40 | 5HI5A4B |  | TRP
153 |  | 0001590 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | AB-617177 |  | TRP
154 |  | 0001591 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | Y-586447 |  | TRP
155 | Page 23 | 0001619 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213563 |  | TRP
156 |  | 0001620 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213574 |  | TRP
157 |  | 0001621 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-28705 |  | TRP
158 |  | 0001622 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-29807 |  | TRP
159 |  | 0001626 | Medical Office | 102 Neurology | ABC | B402 | E-82169914 |  | TRP
160 |  | 0001633 | Medical Office | 102 Neurology | ABC | B402 | F-50544706 |  | TRP
161 |  | 0001634 | North Wing | Mechanical Room (Outside) | ABC | B402 | F-50525650 |  | TRP
162 | Page 24 | 0001635 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | WU-312600 |  | TRP
163 |  | 0001636 | Medical Office | 201 Diabetes Treatment Center | ABC | AA05 | XR-937383 |  | TRP
164 |  | 0001637 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | XL-544571 |  | TRP
165 |  | 0001638 | Medical Office | 204 Diabetes Treatment Center | ABC | B456 | E-77632658 |  | TRP
166 |  | 0001639 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180708 |  | TRP
167 |  | 0001640 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180728 |  | TRP
168 |  | 0001641 | Medical Office | 202 Capital Region Urology | ABC | B402 | F-53077095 |  | TRP
169 | PG 25 | 0001688 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | F-63791729 |  | TRP
170 |  | 0001689 | West Wing | Cat Scan | Water Mist | B270 | F-58519499 |  | TRP
171 | Page 25 | 0001691 | Main Building | SUB GRD GENERATOR ROOM | ABC | B402 | F-63789904 |  | TRP
172 |  | 0001692 | Main Building | SB GRND BED SHOP | ABC | B402 | F-63790455 |  | TRP
173
174
175
176 | Page 26
177
178
179
180
181
182
183 | Page 27
184
185
186
187
188
189
|  |  | Asset Group: | Fire Extinguisher | Due Date: |  | East Wing - St Peters |  |  | 15
|  |  | Monthly PM: | 3613 | 2020-09-01 |  | RS |  |  | 26
|  |  | Annual PM: | 3711 | 2021-03-01 |  | TOTAL |  |  | 146
|  |  | Assigned: | Tom Poole |  |  | TOTAL |  |  | 187
NOTES:
1) Page numbers represent the page in the Fire Extinguisher Book. This is a Work Sheet and is NOT the official record of Fire Extinguisher Inspections.
2) Shaded RS are still being Done by Rob Stark (He is in early for the OR's) | [9 empty] | TRPoole

## FIRE EXT INSP (OR-Rob)
FIRE EXTINGUISHER INSPECTION - Albany Memorial Hospital (OR)
| PG | ASSET # | BUILDING | LOCATION DESCRIPTION | Type of Extinguisher | Model Number | Serial Number | CHK |  | NOTES / COMMENTS
001 | P6 | 0001060 | West Wing | FRONT DESK HALLWAY HOSE CABINET | BC | 322 | R-232755 |  | RS
002 | P6 | 0001064 | West Wing | BY PACU HOSE CABINET | Water Mist | B270 | AC-345020 |  | RS
003 | P6 | 0001065 | West Wing | BY ROOM 5 HOSE CABINET | ABC | AA05 | ZP-692269 |  | RS
004 | P6 | 0001067 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937389 |  | RS
005 | P7 | 0001068 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937377 |  | RS
006 | P7 | 0001069 | West Wing | BY ROOM 1 HOSE CABINET | Water Mist | B270 | AC-344545 |  | RS
007 | P7 | 0001070 | West Wing | BY RM 4 HOSE CABINET | Water Mist | B270 | AC-344540 |  | RS
008 | P7 | 0001071 | West Wing | CORE HOSE CABINET | ABC | B456 | YE-638206 |  | RS
009 | P7 | 0001073 | West Wing | FRONT DESK HOSE CABINET | ABC | AA05 | WK-936837 |  | RS
010 | P10 | 0001090 | West Wing | BACKSIDE PACU | ABC | AA05 | ZP-692239 |  | RS
011 | P11 | 0001096 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755444 |  | RS
012 | P11 | 0001097 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755491 |  | RS
013 | P12 | 0001103 | Main Building | GROUND PHONE ROOM | BC | CA-0581 | V-755438 |  | RS
014 | P13 | 0001117 | West Wing | OUTSIDE ROOM 4 | ABC | AA05 | XR-937376 |  | RS
015 | P17 | 0001145 | West Wing | OUTSIDE ROOM 5 | ABC | AA05 | XR-937390 |  | RS
016 | P20 | 0001168 | Main Building | BIO MED | BC | 322 | R-232766 |  | RS
017 | P20 | 0001172 | West Wing | O.R. 1 | Water Mist | B270CG | AD-914127 |  | RS
018 | P20 | 0001173 | West Wing | O.R. 2 | Water Mist | B270CG | AD-914067 |  | RS
019 | P20 | 0001174 | West Wing | O.R. 3 | Water Mist | B270CG | AD-914073 |  | RS
020 | P21 | 0001175 | West Wing | O.R. 4 | Water Mist | B270CG | AD-914074 |  | RS
021 | P21 | 0001176 | West Wing | O.R. 5 | Water Mist | B270CG | AD-914054 |  | RS
022 | P21 | 0001177 | West Wing | O.R. 6 | Water Mist | B270CG | AD-914124 |  | RS
023 | P21 | 0001178 | West Wing | O.R. 7 | Water Mist | B270CG | AD-914132 |  | RS
024 | P21 | 0001179 | West Wing | O.R. 8 | Water Mist | B270CG | AD-914066 |  | RS
025 | P21 | 0001180 | West Wing | O.R. 9 | Water Mist | B270CG | AD-914126 |  | RS
026 | P21 | 0001181 | West Wing | O.R. 10 | Water Mist | B270CG | AD-914104 |  | RS
|  |  | Asset Group: | Fire Extinguisher 2 (OR) | Due Date: |  | RS |  |  | 26
|  |  | Monthly PM: | 3731 | 2020-05-01 |  | TRP |  |  | 146
|  |  | Annual PM: | 3732 | 2021-03-01 |  | TOTAL |  |  | 172
|  |  | Assigned: | Rob Stark

## FIRE EXT INSPECTION - ANN 2020
ANNUAL - FIRE EXTINGUISHER INSPECTION - Albany Memorial Hospital
| PG | ASSET # | BUILDING | LOCATION DESCRIPTION | Type of Ext | Model Number | Serial Number |  | Service Loan | Returned Complete
001 | Page 1 | 0001021 | Main Building | ELEVATOR PENTHOUSE WEST WING | ABC | B456 | CG-560540 | TRP |  | C
002 |  | 0001022 | Main Building | 7TH FL STAIRWELL WEST WING | ABC | AA05 | ZH-422494 | TRP |  | B
003 |  | 0001023 | Main Building | 6th Floor SOUTH HALLWAY | ABC | AA05 | ZP-692267 | TRP |  | B
004 |  | 0001024 | Main Building | 6th Floor WEST WING | ABC | B402 | CE-526829 | TRP |  | B
005 |  | 0001025 | Main Building | 6th Floor SERVICE ELEVATOR | ABC | AA05 | ZH-422499 | TRP |  | B
006 |  | 0001027 | Main Building | MAIN STAIRWELL TOP OF LANDING | ABC | AA05 | VS-482087 | TRP |  | A
007 |  | 0001028 | Main Building | ELEVATOR PENTHOUSE | ABC | B456 | CG-560538 | TRP |  | B
008 | Page 2 | 0001029 | Main Building | 5th Floor SOUTH HALLWAY | ABC | B402 | CE-526109 | TRP |  | B
009 |  | 0001030 | Main Building | 5th Floor WEST WING | ABC | AA05 | ZP-692279 | TRP |  | B
010 |  | 0001031 | Main Building | 5th Floor SERVICE ELEVATOR | ABC | AA05 | XR-937316 | TRP |  | A
011 |  | 0001032 | Main Building | 5th Floor NORTH HALLWAY | ABC | B402 | CE-524118 | TRP |  | B
012 |  | 0001033 | Main Building | ADMINISTRATION | ABC | AA05 | VS-479416 | TRP |  | A
013 |  | 0001034 | Main Building | 4th Floor SOUTH HALLWAY | ABC | B402 | CE-526103 | TRP |  | B
014 |  | 0001035 | Main Building | 4th Floor SERVICE ELEVATOR | ABC | AA05 | ZP-692256 | TRP |  | B
015 | Page 3 | 0001036 | Main Building | 4th Floor NORTH HALLWAY | ABC | B402 | CE-500347 | TRP |  | B
016 |  | 0001037 | Main Building | 4th Floor DTCA HALLWAY | ABC | AA05 | VS-479404 | TRP |  | A
017 |  | 0001038 | West Wing | HALLWAY 1 | ABC | AA05 | ZP-692255 | TRP |  | B
018 |  | 0001039 | West Wing | HALLWAY 2 | ABC | B402 | CE-526102 | TRP |  | B
019 |  | 0001040 | West Wing | Cardio- Pulmonary HALLWAY | ABC | B402 | CE-502018 | TRP |  | B
020 |  | 0001041 | West Wing | MECHANICAL ROOM | ABC | B456 | CG-560535 | TRP |  | B
021 |  | 0001042 | West Wing | Infusion / Heart Program | ABC | B402 | CE-502524 | TRP |  | B
022 | Page 4 | 0001043 | West Wing | CCD | ABC | B402 | CE-525508 | TRP |  | B
023 |  | 0001044 | Main Building | 3RD FLOOR SOUTH HALLWAY | ABC | B402 | CE-521608 | TRP |  | B
024 |  | 0001045 | Main Building | 3RD FLOOR WEST WING | ABC | AA05 | XR-937400 | TRP |  | A
025 |  | 0001046 | Main Building | 3RD FLOOR SERVICE ELEVATOR | ABC | AA05 | SN-990035 | TRP |  | A
026 |  | 0001047 | Main Building | 3RD FLOOR NORTH HALLWAY | ABC | B402 | SNCE-525512 | TRP |  | B
027 |  | 0001048 | Main Building | 3RD FLOOR NURSE ADMIN | ABC | AA05 | WK-936817 | TRP |  | A
028 |  | 0001049 | Main Building | Room 615 Hyperbolic Chambers | ABC | B402 | CE-503150 | TRP |  | B
029 | Page 5 | 0001050 | Main Building | 2ND FLOOR WEST WING HALLWAY | ABC | AA05 | VS-479415 | TRP |  | A
030 |  | 0001051 | Main Building | 2ND FLOOR SERVICE ELEVATOR | ABC | AA05 | VS-479418 | TRP |  | A
031 |  | 0001052 | Main Building | 2ND FLOOR NORTH HALLWAY | ABC | B402 | CE-526831 | TRP |  | B
032 |  | 0001053 | Main Building | HOSE CABINET | ABC | AA05 | XR-937375 | TRP |  | C
033 |  | 0001054 | Main Building | BEFORE STAIRS | ABC | B402 | CE-515963 | TRP |  | B
034 |  | 0001055 | Main Building | NORTH HALLWAY | ABC | AA05 | VS-479423 | TRP |  | A
035 | P5 | 0001056 | Main Building | BACK DOOR | ABC | AA05 | VS-479426 | TRP |  | A
036 | Page 6 | 0001057 | Main Building | MECH RM | ABC | B456 | CG-560534 | TRP |  | C
037 |  | 0001058 | Main Building | TOP OF RAMP | Water Mist | B270 | AC-344551 | TRP |  | A
038 |  | 0001059 | Main Building | UPPER BACK WALL | ABC | B456 | CG-567291 | TRP |  | C
039 |  | 0001060 | West Wing | FRONT DESK HALLWAY HOSE CABINET | BC | 322 | R-232755 | RS |  | A
040 |  | 0001064 | West Wing | BY PACU HOSE CABINET | Water Mist | B270 | AC-345020 | RS |  | A
041 |  | 0001065 | West Wing | BY ROOM 5 HOSE CABINET | ABC | AA05 | ZP-692269 | RS |  | B
042 |  | 0001067 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937389 | RS |  | A
043 | Page 7 | 0001068 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937377 | RS |  | A
044 |  | 0001069 | West Wing | BY ROOM 1 HOSE CABINET | Water Mist | B270 | AC-344545 | RS |  | A
045 |  | 0001070 | West Wing | BY RM 4 HOSE CABINET | Water Mist | B270 | AC-344540 | RS |  | A
046 |  | 0001071 | West Wing | CORE HOSE CABINET | ABC | B456 | YE-638206 | RS |  | A
047 |  | 0001072 | Main Building | ELECT. SHOP | BC | FE02 | FE-347374 | TRP |  | A
048 |  | 0001073 | West Wing | FRONT DESK HOSE CABINET | ABC | AA05 | WK-936837 | RS |  | A
049 |  | 0001074 | Main Building | 1ST FLOOR SOUTH HALLWAY | ABC | AA05 | VS-479425 | TRP |  | A
050 | Page 8 | 0001075 | Main Building | 1ST FLOOR NORTH HALLWAY | ABC | AA05 | WK-936843 | TRP |  | A
051 |  | 0001076 | North Wing | UPSTAIRS | ABC | B402 | CE-515954 | TRP |  | B
052 |  | 0001077 | North Wing | DOWN STAIRS | ABC | B402 | CE-525510 | TRP |  | B
053 |  | 0001078 | Main Building | 1ST FLOOR NORTH WING HALLWAY | ABC | AA05 | VS-479419 | TRP |  | A
054 |  | 0001079 | Main Building | CONKLIN ROOM | ABC | AA05 | VS-479405 | TRP |  | A
055 |  | 0001080 | North Wing | TOP OF STAIRS | ABC | B402 | CE-502525 | TRP |  | B
056 |  | 0001081 | North Wing | DOWN STAIRS | ABC | B402 | CE-526830 | TRP |  | B
057 | Page 9 | 0001082 | Main Building | FRONT DESK | ABC | B402 | CE-525509 | TRP |  | B
058 |  | 0001083 | Main Building | BY SEVICE ELEVATOR AREA | ABC | B402 | CE-525517 | TRP |  | B
059 |  | 0001084 | Main Building | PHYSICAL THERAPY ROOM | ABC | B402 | CE-500348 | TRP |  | B
060 |  | 0001085 | Main Building | 1ST FLOOR HALLWAY FROM LOBBY | ABC | AA05 | ZP-692252 | TRP |  | B
061 |  | 0001086 | West Wing | X-RAY - BACK HALLWAY | ABC | AA05 | VS-479401 | TRP |  | A
062 |  | 0001087 | West Wing | HALLWAY | Water Mist | B270 | X-398037 | TRP |  | A
063 |  | 0001088 | West Wing | HALLWAY | Water Mist | B270 | X-378279 | TRP |  | A
064 | Page 10 | 0001089 | West Wing | ED BEHIND MAIN DESK | ABC | AA05 | ZP-692270 | TRP |  | B
065 |  | 0001090 | West Wing | BACKSIDE PACU | ABC | AA05 | ZP-692239 | RS |  | B
066 |  | 0001091 | West Wing | TRIAGE | ABC | AA05 | XR-937382 | TRP |  | A
067 |  | 0001092 | Main Building | GIFT SHOP | ABC | AA05 | VS-479407 | TRP |  | A
068 |  | 0001093 | Main Building | GROUND SOUTH HALLWAY | ABC | B456 | CG-566502 | TRP |  | C
069 | P10 | 0001094 | Main Building | GROUND NORTH HALLWAY | ABC | B456 | CG-560544 | TRP |  | B
070 |  | 0001095 | Main Building | CABINET BY ELCTRIC SHOP | ABC | B456 | CG-567288 | TRP |  | B
071 | Page 11 | 0001096 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755444 | RS |  | A
072 |  | 0001097 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755491 | RS |  | A
073 |  | 0001098 | Main Building | GROUND CAFE HOSE CABINET | ABC | B402 | CE-5256104 | TRP |  | B
074 |  | 0001099 | Main Building | GROUND CAFE GRILL | ABC | LA-0191 | W-0008985 | TRP |  | A
075 |  | 0001100 | Main Building | GROUND KITCHEN OFFICE | ABC | LA-0191 | W-0008978 | TRP |  | A
076 |  | 0001101 | Main Building | GROUND KITCHEN OFFICE | ABC | B456 | CG-565539 | TRP |  | C
077 |  | 0001102 | Main Building | GROUND KITCHEN ENTRANCE | ABC | B456 | CG-566504 | TRP |  | B
078 | Page 12 | 0001103 | Main Building | GROUND PHONE ROOM | BC | CA-0581 | V-755438 | RS |  | A
079 |  | 0001104 | West Wing | GROUND WEST WING MAIN HALLWAY | ABC | AA05 | VS-479422 | TRP |  | A
080 |  | 0001105 | West Wing | Ground Floor Distribution | ABC | B456 | CG-560073 | TRP |  | B
081 |  | 0001106 | West Wing | Ground Floor Distribution | ABC | B456 | CG-563034 | TRP |  | C
082 |  | 0001107 | Main Building | GRND WEST WING MECH RM TOP STAIRS | ABC | B456 | CG-566503 | TRP |  | C
083 |  | 0001109 | Main Building | GRND WEST WING MECH RM GENERATOR | ABC | B456 | CG-567287 | TRP |  | C
084 |  | 0001110 | Main Building | GRND WEST WING MECH RM BY DOOR | ABC | B456 | CG-506543 | TRP |  | B
085 | Page 13 | 0001111 | Main Building | GRND WEST WING MECH RM MTR CONTROL | ABC | B456 | CG-560072 | TRP |  | B
086 |  | 0001113 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563035 | TRP |  | B
087 |  | 0001114 | Main Building | GRND WEST WING MECH RM AIR COMP | ABC | B456 | CG-566505 | TRP |  | B
088 |  | 0001115 | Main Building | GRND WEST WING MECH RM BACK AIR | ABC | B456 | CG-565540 | TRP |  | C
089 |  | 0001116 | Main Building | GRND WEST WING MECH RM BY BELTS | ABC | B456 | CG-560539 | TRP |  | B
090 |  | 0001117 | West Wing | OUTSIDE ROOM 4 | ABC | AA05 | XR-937376 | RS |  | A
091 |  | 0001118 | East Wing | GND FL - TRAINING ROOM 5 | ABC | AA05 | XR-957387 | TRP |  | B
092 | Page 14 | 0001119 | Main Building | 2 SOUTH | ABC | AA05 | XR-937404 | TRP |  | A
093 |  | 0001121 | Main Building | SUB GRND GOING INTO MECH RM | BC | SY-0572 | W-185396 | TRP |  | A
094 |  | 0001123 | Main Building | SUB GRND SOUTH HALLWAY | ABC | B402 | CE-525516 | TRP |  | A
095 |  | 0001125 | East Wing | OLD LIBRARY - TRAINING ROOM 9 | ABC | AA05 | VS-479402 | TRP |  | B
096 |  | 0001127 | Main Building | SUB GRND OLD LAUNDRY | ABC | AA05 | VS-482083 | TRP |  | A
097 |  | 0001128 | Main Building | SUB GRNDB HVAC SHOP | ABC | B456 | CG-567290 | TRP |  | B
098 |  | 0001131 | Main Building | GARAGE | ABC | TGP-10G | NJ-618651 | TRP |  | A
099 | Page 15 | 0001132 | Main Building | SUB GRND SPILL CART | ABC | AA05 | XR-937388 | TRP |  | A
100 |  | 0001133 | Main Building | SUB GRND MAIN OFFICE | ABC | AA05 | Y-586530 | TRP |  | A
101 |  | 0001134 | Main Building | SUB GRND NORTH HALLWAY | ABC | B456 | CG-560536 | TRP |  | B
102 |  | 0001135 | Main Building | 6th Floor NORTH HALLWAY | ABC | AA05 | X-586530 | TRP |  | A
103 | Page 15 | 0001136 | Main Building | SUB GRND STOCK ROOM | ABC | B402 | CE-500349 | TRP |  | B
104 |  | 0001138 | Main Building | SUB GRND PAINT SHOP | ABC | AA05 | WK-936855 | TRP |  | A
105 |  | 0001139 | Main Building | SUB GRND PLUMBING CART | ABC | AA05 | VS-479427 | TRP |  | A
106 | Page 16 | 0001140 | Main Building | BOILER ROOM | BC | 322 | R-232747 | TRP |  | A
107 |  | 0001141 | Main Building | BOILER ROOM HOT WORK | ABC | 4-A60 BC | BR-290379 | TRP |  | A
108 |  | 0001142 | Main Building | GROUND NORTH HALLWAY WASTE ROOM | ABC | B456 | CG-566507 | TRP |  | C
109 |  | 0001143 | Main Building | GROUND WASTE ROOM HALLWAY | ABC | B456 | CG-565538 | TRP |  | B
110 |  | 0001144 | Main Building | GROUND WASTE ROOM EXIT | ABC | B456 | CG-566503 | TRP |  | B
111 |  | 0001145 | West Wing | OUTSIDE ROOM 5 | ABC | AA05 | XR-937390 | RS |  | A
112 |  | 0001146 | Grounds | CARP SHOP | Water Can | WS/LS 900 | T-156794 | TRP |  | A
113 | Page 17 | 0001147 | Grounds | GARAGE | ABC | AA05 | VK-446012 | TRP |  | A
114 |  | 0001149 | Main Building | GRND WEST WING MECH RM FIRE PANEL | ABC | B456 | KP-181521 | TRP |  | C
115 |  | 0001150 | East Wing | PENTHOUSE FOR ELEVATOR | ABC | AA05 | XR-937405 | TRP |  | B
116 |  | 0001151 | East Wing | 3rd EAST HALLWAY | ABC | AA05 | ZP-692228 | TRP |  | C
117 |  | 0001152 | East Wing | 3rd HALLWAY | ABC | AA05 | ZP-692276 | TRP |  | C
118 |  | 0001153 | East Wing | 3rd CENTER HALLWAY | ABC | AA05 | VS-479417 | TRP |  | B
119 |  | 0001154 | East Wing | 2nd BY ELEVATOR | ABC | B456 | XN-299086 | TRP |  | B
120 | Page 18 | 0001155 | East Wing | 2nd CENTER PAST DOOR | ABC | B456 | XN-305923 | TRP |  | B
121 |  | 0001156 | East Wing | 2nd NORTH HALLWAY | ABC | TGP-10G | NW-319556 | TRP |  | B
122 |  | 0001157 | East Wing | 2nd HAND CENTER | ABC | TGP-10G | NW-319615 | TRP |  | B
123 |  | 0001158 | East Wing | 1st EAST HALLWAY | ABC | AA05 | ZP-692286 | TRP |  | C
124 |  | 0001159 | East Wing | 1st NORTH HALLWAY/BUSINESS OFFICE | ABC | AA05 | ZP-692266 | TRP |  | C
125 |  | 0001160 | East Wing | 1st CENTER HALLWAY | ABC | AA05 | XR-937403 | TRP |  | B
126 |  | 0001161 | West Wing | BACK HALLWAY | ABC | AA05 | ZP-692239 | TRP |  | B
127 | Page 19 | 0001162 | East Wing | GND EAST HALLWAY | ABC | SY-1014 | MU-714457 | TRP |  | B
128 |  | 0001163 | East Wing | GND NORTH HALLWAY | ABC | AA05 | ZP-692262 | TRP |  | C
129 |  | 0001164 | East Wing | GND PUMP ROOM | ABC | B402 | E-93410496 | TRP |  | B
130 |  | 0001165 | East Wing | OLD LIBRARY - TRAINING ROOM 8 | ABC | B402 | CE-524116 | TRP |  | C
131 |  | 0001167 | East Wing | S GND PRINT SHOP | ABC | B456 | CG-563042 | TRP |  | C
132 |  | 0001168 | Main Building | BIO MED | BC | 322 | R-232766 | RS |  | A
133 |  | 0001169 | Main Building | Pharmacy | ABC | AA05 | VS-479406 | TRP |  | A
134 | Page 20 | 0001170 | Main Building | SUB GRND PUMP ROOM | BC | 332 | F-87312242 | TRP |  | C
135 |  | 0001171 | Main Building | WASTE ROOM LAB AREA | BC | 332 | F-87312257 | TRP |  | C
136 |  | 0001172 | West Wing | O.R. 1 | Water Mist | B270CG | AD-914127 | RS |  | A
137 | Page 20 | 0001173 | West Wing | O.R. 2 | Water Mist | B270CG | AD-914067 | RS |  | A
138 |  | 0001174 | West Wing | O.R. 3 | Water Mist | B270CG | AD-914073 | RS |  | A
139 |  | 0001175 | West Wing | O.R. 4 | Water Mist | B270CG | AD-914074 | RS |  | A
140 |  | 0001176 | West Wing | O.R. 5 | Water Mist | B270CG | AD-914054 | RS |  | A
141 | Page 21 | 0001177 | West Wing | O.R. 6 | Water Mist | B270CG | AD-914124 | RS |  | A
142 |  | 0001178 | West Wing | O.R. 7 | Water Mist | B270CG | AD-914132 | RS |  | A
143 |  | 0001179 | West Wing | O.R. 8 | Water Mist | B270CG | AD-914066 | RS |  | A
144 |  | 0001180 | West Wing | O.R. 9 | Water Mist | B270CG | AD-914126 | RS |  | A
145 |  | 0001181 | West Wing | O.R. 10 | Water Mist | B270CG | AD-914104 | RS |  | A
146 |  | 0001516 | Main Building | Penthouse west wing (at&t) | HALOTRON | 397 | V640477 | TRP |  | C
147 |  | 0001553 | Main Building | SECURITY | ABC | TGP106 | NW-343182 | TRP |  | A
148 | Page 22 | 0001554 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563038 | TRP |  | B
149 |  | 0001555 | Main Building | GROUND CENTER HALLWAY | ABC | SY-0614 | JL-180724 | TRP |  | B
150 |  | 0001556 | Main Building | GROUND WASTE ROOM | ABC | SY-0614 | JL-180713 | TRP |  | B
151 |  | 0001557 | Main Building | SUB GRND PRINT ROOM | ABC | AA05 | ZP-692257 | TRP |  | C
152 |  | 0001582 | East Wing | GND FL - TRAINING ROOM 4 | ABC | 5A40 | 5HI5A4B | TRP |  | A
153 |  | 0001590 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | AB-617177 | TRP |  | A
154 |  | 0001591 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | Y-586447 | TRP |  | A
155 | Page 23 | 0001619 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213563 | TRP |  | A
156 |  | 0001620 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213574 | TRP |  | A
157 |  | 0001621 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-28705 | TRP | L
158 |  | 0001622 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-29807 | TRP | L
159 |  | 0001626 | Medical Office | 102 Neurology | ABC | B402 | E-82169914 | TRP |  | A
160 |  | 0001633 | Medical Office | 102 Neurology | ABC | B402 | F-50544706 | TRP |  | A
161 |  | 0001634 | North Wing | Mechanical Room (Outside) | ABC | B402 | F-50525650 | TRP |  | A
162 | Page 24 | 0001635 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | WU-312600 | TRP |  | A
163 |  | 0001636 | Medical Office | 201 Diabetes Treatment Center | ABC | AA05 | XR-937383 | TRP |  | A
164 |  | 0001637 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | XL-544571 | TRP |  | A
165 |  | 0001638 | Medical Office | 204 Diabetes Treatment Center | ABC | B456 | E-77632658 | TRP |  | A
166 |  | 0001639 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180708 | TRP |  | A
167 |  | 0001640 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180728 | TRP |  | A
168 |  | 0001641 | Medical Office | 202 Capital Region Urology | ABC | B402 | F-53077095 | TRP |  | A
169 | PG 25 | 0001688 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | F-63791729 | TRP |  | A
170 |  | 0001689 | West Wing | Cat Scan | Water Mist | B270 | F-58519499 | TRP |  | A
171 | Page 25 | 0001691 | Main Building | SUB GRD GENERATOR ROOM | ABC | B402 | F-63789904 | TRP |  | A
172 |  | 0001692 | Main Building | SB GRND BED SHOP | ABC | B402 | F-63790455 | TRP |  | A
173
174
175
176 | Page 26
177
178
179
180
181
182
183 | Page 27
184
185
186
187
188
189
|  |  | Asset Group: | Fire Extinguisher | Due Date: |  | COMPLETED - A |  | 2020-03-04 | 84
|  |  | Monthly PM: | 3613 | 2020-05-01 |  | COMPLETED - B |  | 2020-03-11 | 63
|  |  | Annual PM: | 3711 | 2021-03-01 |  | COMPLETED - C |  | 2020-04-28 | 23
|  |  | Assigned: | Tom Poole |  |  | NEED NEW |  |  | 0
[7 empty] | LOAN - RECHRG |  |  | 2
[7 empty] | RS |  |  | 26
[7 empty] | TRP |  |  | 146
[7 empty] | TOTAL |  |  | 172
[7 empty] | MISSED |  |  | 0
[7 empty] | REMAINING |  |  | 0
[7 empty] | CHECK SUM |  |  | 172
NOTES:
1) Page numbers represent the page in the Fire Extinguisher Book. This is a Work Sheet and is NOT the official record of Fire Extinguisher Inspections. | [9 empty] | TRPoole
2) Shaded RS are still being Done by Rob Stark (He is in early for the OR's)

## FIRE EXT INSPECTION - ANN - NEW
ANNUAL - FIRE EXTINGUISHER INSPECTION - Albany Memorial Hospital
| PG | ASSET # | BUILDING | LOCATION DESCRIPTION | Type of Ext | Model Number | Serial Number |  | Service Loan | Returned Complete
001 | Page 1 | 0001021 | Main Building | ELEVATOR PENTHOUSE WEST WING | ABC | B456 | CG-560540 | TRP
002 |  | 0001022 | Main Building | 7TH FL STAIRWELL WEST WING | ABC | AA05 | ZH-422494 | TRP
003 |  | 0001023 | Main Building | 6th Floor SOUTH HALLWAY | ABC | AA05 | ZP-692267 | TRP
004 |  | 0001024 | Main Building | 6th Floor WEST WING | ABC | B402 | CE-526829 | TRP
005 |  | 0001025 | Main Building | 6th Floor SERVICE ELEVATOR | ABC | AA05 | ZH-422499 | TRP
006 |  | 0001027 | Main Building | MAIN STAIRWELL TOP OF LANDING | ABC | AA05 | VS-482087 | TRP
007 |  | 0001028 | Main Building | ELEVATOR PENTHOUSE | ABC | B456 | CG-560538 | TRP
008 | Page 2 | 0001029 | Main Building | 5th Floor SOUTH HALLWAY | ABC | B402 | CE-526109 | TRP
009 |  | 0001030 | Main Building | 5th Floor WEST WING | ABC | AA05 | ZP-692279 | TRP
010 |  | 0001031 | Main Building | 5th Floor SERVICE ELEVATOR | ABC | AA05 | XR-937316 | TRP
011 |  | 0001032 | Main Building | 5th Floor NORTH HALLWAY | ABC | B402 | CE-524118 | TRP
012 |  | 0001033 | Main Building | ADMINISTRATION | ABC | AA05 | VS-479416 | TRP
013 |  | 0001034 | Main Building | 4th Floor SOUTH HALLWAY | ABC | B402 | CE-526103 | TRP
014 |  | 0001035 | Main Building | 4th Floor SERVICE ELEVATOR | ABC | AA05 | ZP-692256 | TRP
015 | Page 3 | 0001036 | Main Building | 4th Floor NORTH HALLWAY | ABC | B402 | CE-500347 | TRP
016 |  | 0001037 | Main Building | 4th Floor DTCA HALLWAY | ABC | AA05 | VS-479404 | TRP
017 |  | 0001038 | West Wing | HALLWAY 1 | ABC | AA05 | ZP-692255 | TRP
018 |  | 0001039 | West Wing | HALLWAY 2 | ABC | B402 | CE-526102 | TRP
019 |  | 0001040 | West Wing | Cardio- Pulmonary HALLWAY | ABC | B402 | CE-502018 | TRP
020 |  | 0001041 | West Wing | MECHANICAL ROOM | ABC | B456 | CG-560535 | TRP
021 |  | 0001042 | West Wing | Infusion / Heart Program | ABC | B402 | CE-502524 | TRP
022 | Page 4 | 0001043 | West Wing | CCD | ABC | B402 | CE-525508 | TRP
023 |  | 0001044 | Main Building | 3RD FLOOR SOUTH HALLWAY | ABC | B402 | CE-521608 | TRP
024 |  | 0001045 | Main Building | 3RD FLOOR WEST WING | ABC | AA05 | XR-937400 | TRP
025 |  | 0001046 | Main Building | 3RD FLOOR SERVICE ELEVATOR | ABC | AA05 | SN-990035 | TRP
026 |  | 0001047 | Main Building | 3RD FLOOR NORTH HALLWAY | ABC | B402 | SNCE-525512 | TRP
027 |  | 0001048 | Main Building | 3RD FLOOR NURSE ADMIN | ABC | AA05 | WK-936817 | TRP
028 |  | 0001049 | Main Building | Room 615 Hyperbolic Chambers | ABC | B402 | CE-503150 | TRP
029 | Page 5 | 0001050 | Main Building | 2ND FLOOR WEST WING HALLWAY | ABC | AA05 | VS-479415 | TRP
030 |  | 0001051 | Main Building | 2ND FLOOR SERVICE ELEVATOR | ABC | AA05 | VS-479418 | TRP
031 |  | 0001052 | Main Building | 2ND FLOOR NORTH HALLWAY | ABC | B402 | CE-526831 | TRP
032 |  | 0001053 | Main Building | HOSE CABINET | ABC | AA05 | XR-937375 | TRP
033 |  | 0001054 | Main Building | BEFORE STAIRS | ABC | B402 | CE-515963 | TRP
034 |  | 0001055 | Main Building | NORTH HALLWAY | ABC | AA05 | VS-479423 | TRP
035 | P5 | 0001056 | Main Building | BACK DOOR | ABC | AA05 | VS-479426 | TRP
036 | Page 6 | 0001057 | Main Building | MECH RM | ABC | B456 | CG-560534 | TRP
037 |  | 0001058 | Main Building | TOP OF RAMP | Water Mist | B270 | AC-344551 | TRP
038 |  | 0001059 | Main Building | UPPER BACK WALL | ABC | B456 | CG-567291 | TRP
039 |  | 0001060 | West Wing | FRONT DESK HALLWAY HOSE CABINET | BC | 322 | R-232755 | RS
040 |  | 0001064 | West Wing | BY PACU HOSE CABINET | Water Mist | B270 | AC-345020 | RS
041 |  | 0001065 | West Wing | BY ROOM 5 HOSE CABINET | ABC | AA05 | ZP-692269 | RS
042 |  | 0001067 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937389 | RS
043 | Page 7 | 0001068 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937377 | RS
044 |  | 0001069 | West Wing | BY ROOM 1 HOSE CABINET | Water Mist | B270 | AC-344545 | RS
045 |  | 0001070 | West Wing | BY RM 4 HOSE CABINET | Water Mist | B270 | AC-344540 | RS
046 |  | 0001071 | West Wing | CORE HOSE CABINET | ABC | B456 | YE-638206 | RS
047 |  | 0001072 | Main Building | ELECT. SHOP | BC | FE02 | FE-347374 | TRP
048 |  | 0001073 | West Wing | FRONT DESK HOSE CABINET | ABC | AA05 | WK-936837 | RS
049 |  | 0001074 | Main Building | 1ST FLOOR SOUTH HALLWAY | ABC | AA05 | VS-479425 | TRP
050 | Page 8 | 0001075 | Main Building | 1ST FLOOR NORTH HALLWAY | ABC | AA05 | WK-936843 | TRP
051 |  | 0001076 | North Wing | UPSTAIRS | ABC | B402 | CE-515954 | TRP
052 |  | 0001077 | North Wing | DOWN STAIRS | ABC | B402 | CE-525510 | TRP
053 |  | 0001078 | Main Building | 1ST FLOOR NORTH WING HALLWAY | ABC | AA05 | VS-479419 | TRP
054 |  | 0001079 | Main Building | CONKLIN ROOM | ABC | AA05 | VS-479405 | TRP
055 |  | 0001080 | North Wing | TOP OF STAIRS | ABC | B402 | CE-502525 | TRP
056 |  | 0001081 | North Wing | DOWN STAIRS | ABC | B402 | CE-526830 | TRP
057 | Page 9 | 0001082 | Main Building | FRONT DESK | ABC | B402 | CE-525509 | TRP
058 |  | 0001083 | Main Building | BY SEVICE ELEVATOR AREA | ABC | B402 | CE-525517 | TRP
059 |  | 0001084 | Main Building | PHYSICAL THERAPY ROOM | ABC | B402 | CE-500348 | TRP
060 |  | 0001085 | Main Building | 1ST FLOOR HALLWAY FROM LOBBY | ABC | AA05 | ZP-692252 | TRP
061 |  | 0001086 | West Wing | X-RAY - BACK HALLWAY | ABC | AA05 | VS-479401 | TRP
062 |  | 0001087 | West Wing | HALLWAY | Water Mist | B270 | X-398037 | TRP
063 |  | 0001088 | West Wing | HALLWAY | Water Mist | B270 | X-378279 | TRP
064 | Page 10 | 0001089 | West Wing | ED BEHIND MAIN DESK | ABC | AA05 | ZP-692270 | TRP
065 |  | 0001090 | West Wing | BACKSIDE PACU | ABC | AA05 | ZP-692239 | RS
066 |  | 0001091 | West Wing | TRIAGE | ABC | AA05 | XR-937382 | TRP
067 |  | 0001092 | Main Building | GIFT SHOP | ABC | AA05 | VS-479407 | TRP
068 |  | 0001093 | Main Building | GROUND SOUTH HALLWAY | ABC | B456 | CG-566502 | TRP
069 | P10 | 0001094 | Main Building | GROUND NORTH HALLWAY | ABC | B456 | CG-560544 | TRP
070 |  | 0001095 | Main Building | CABINET BY ELCTRIC SHOP | ABC | B456 | CG-567288 | TRP
071 | Page 11 | 0001096 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755444 | RS
072 |  | 0001097 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755491 | RS
073 |  | 0001098 | Main Building | GROUND CAFE HOSE CABINET | ABC | B402 | CE-5256104 | TRP
074 |  | 0001099 | Main Building | GROUND CAFE GRILL | ABC | LA-0191 | W-0008985 | TRP
075 |  | 0001100 | Main Building | GROUND KITCHEN OFFICE | ABC | LA-0191 | W-0008978 | TRP
076 |  | 0001101 | Main Building | GROUND KITCHEN OFFICE | ABC | B456 | CG-565539 | TRP
077 |  | 0001102 | Main Building | GROUND KITCHEN ENTRANCE | ABC | B456 | CG-566504 | TRP
078 | Page 12 | 0001103 | Main Building | GROUND PHONE ROOM | BC | CA-0581 | V-755438 | RS
079 |  | 0001104 | West Wing | GROUND WEST WING MAIN HALLWAY | ABC | AA05 | VS-479422 | TRP
080 |  | 0001105 | West Wing | Ground Floor Distribution | ABC | B456 | CG-560073 | TRP
081 |  | 0001106 | West Wing | Ground Floor Distribution | ABC | B456 | CG-563034 | TRP
082 |  | 0001107 | Main Building | GRND WEST WING MECH RM TOP STAIRS | ABC | B456 | CG-566503 | TRP
083 |  | 0001109 | Main Building | GRND WEST WING MECH RM GENERATOR | ABC | B456 | CG-567287 | TRP
084 |  | 0001110 | Main Building | GRND WEST WING MECH RM BY DOOR | ABC | B456 | CG-506543 | TRP
085 | Page 13 | 0001111 | Main Building | GRND WEST WING MECH RM MTR CONTROL | ABC | B456 | CG-560072 | TRP
086 |  | 0001113 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563035 | TRP
087 |  | 0001114 | Main Building | GRND WEST WING MECH RM AIR COMP | ABC | B456 | CG-566505 | TRP
088 |  | 0001115 | Main Building | GRND WEST WING MECH RM BACK AIR | ABC | B456 | CG-565540 | TRP
089 |  | 0001116 | Main Building | GRND WEST WING MECH RM BY BELTS | ABC | B456 | CG-560539 | TRP
090 |  | 0001117 | West Wing | OUTSIDE ROOM 4 | ABC | AA05 | XR-937376 | RS
091 |  | 0001118 | East Wing | GND FL - TRAINING ROOM 5 | ABC | AA05 | XR-957387 | TRP
092 | Page 14 | 0001119 | Main Building | 2 SOUTH | ABC | AA05 | XR-937404 | TRP
093 |  | 0001121 | Main Building | SUB GRND GOING INTO MECH RM | BC | SY-0572 | W-185396 | TRP
094 |  | 0001123 | Main Building | SUB GRND SOUTH HALLWAY | ABC | B402 | CE-525516 | TRP
095 |  | 0001125 | East Wing | OLD LIBRARY - TRAINING ROOM 9 | ABC | AA05 | VS-479402 | TRP
096 |  | 0001127 | Main Building | SUB GRND OLD LAUNDRY | ABC | AA05 | VS-482083 | TRP
097 |  | 0001128 | Main Building | SUB GRNDB HVAC SHOP | ABC | B456 | CG-567290 | TRP
098 |  | 0001131 | Main Building | GARAGE | ABC | TGP-10G | NJ-618651 | TRP
099 | Page 15 | 0001132 | Main Building | SUB GRND SPILL CART | ABC | AA05 | XR-937388 | TRP
100 |  | 0001133 | Main Building | SUB GRND MAIN OFFICE | ABC | AA05 | Y-586530 | TRP
101 |  | 0001134 | Main Building | SUB GRND NORTH HALLWAY | ABC | B456 | CG-560536 | TRP
102 |  | 0001135 | Main Building | 6th Floor NORTH HALLWAY | ABC | AA05 | X-586530 | TRP
103 | Page 15 | 0001136 | Main Building | SUB GRND STOCK ROOM | ABC | B402 | CE-500349 | TRP
104 |  | 0001138 | Main Building | SUB GRND PAINT SHOP | ABC | AA05 | WK-936855 | TRP
105 |  | 0001139 | Main Building | SUB GRND PLUMBING CART | ABC | AA05 | VS-479427 | TRP
106 | Page 16 | 0001140 | Main Building | BOILER ROOM | BC | 322 | R-232747 | TRP
107 |  | 0001141 | Main Building | BOILER ROOM HOT WORK | ABC | 4-A60 BC | BR-290379 | TRP
108 |  | 0001142 | Main Building | GROUND NORTH HALLWAY WASTE ROOM | ABC | B456 | CG-566507 | TRP
109 |  | 0001143 | Main Building | GROUND WASTE ROOM HALLWAY | ABC | B456 | CG-565538 | TRP
110 |  | 0001144 | Main Building | GROUND WASTE ROOM EXIT | ABC | B456 | CG-566503 | TRP
111 |  | 0001145 | West Wing | OUTSIDE ROOM 5 | ABC | AA05 | XR-937390 | RS
112 |  | 0001146 | Grounds | CARP SHOP | ABC | B456 | C-99213604 | TRP
113 | Page 17 | 0001147 | Grounds | GARAGE | ABC | AA05 | VK-446012 | TRP
114 |  | 0001149 | Main Building | GRND WEST WING MECH RM FIRE PANEL | ABC | B456 | KP-181521 | TRP
115 |  | 0001150 | East Wing | PENTHOUSE FOR ELEVATOR | ABC | AA05 | XR-937405 | TRP
116 |  | 0001151 | East Wing | 3rd EAST HALLWAY | ABC | AA05 | ZP-692228 | TRP
117 |  | 0001152 | East Wing | 3rd HALLWAY | ABC | AA05 | ZP-692276 | TRP
118 |  | 0001153 | East Wing | 3rd CENTER HALLWAY | ABC | AA05 | VS-479417 | TRP
119 |  | 0001154 | East Wing | 2nd BY ELEVATOR | ABC | B456 | XN-299086 | TRP
120 | Page 18 | 0001155 | East Wing | 2nd CENTER PAST DOOR | ABC | B456 | XN-305923 | TRP
121 |  | 0001156 | East Wing | 2nd NORTH HALLWAY | ABC | TGP-10G | NW-319556 | TRP
122 |  | 0001157 | East Wing | 2nd HAND CENTER | ABC | TGP-10G | NW-319615 | TRP
123 |  | 0001158 | East Wing | 1st EAST HALLWAY | ABC | AA05 | ZP-692286 | TRP
124 |  | 0001159 | East Wing | 1st NORTH HALLWAY/BUSINESS OFFICE | ABC | AA05 | ZP-692266 | TRP
125 |  | 0001160 | East Wing | 1st CENTER HALLWAY | ABC | AA05 | XR-937403 | TRP
126 |  | 0001161 | West Wing | BACK HALLWAY | ABC | AA05 | ZP-692239 | TRP
127 | Page 19 | 0001162 | East Wing | GND EAST HALLWAY | ABC | SY-1014 | MU-714457 | TRP
128 |  | 0001163 | East Wing | GND NORTH HALLWAY | ABC | AA05 | ZP-692262 | TRP
129 |  | 0001164 | East Wing | GND PUMP ROOM | ABC | B402 | E-93410496 | TRP
130 |  | 0001165 | East Wing | OLD LIBRARY - TRAINING ROOM 8 | ABC | B402 | CE-524116 | TRP
131 |  | 0001167 | East Wing | S GND PRINT SHOP | ABC | B456 | CG-563042 | TRP
132 |  | 0001168 | Main Building | BIO MED | BC | 322 | R-232766 | RS
133 |  | 0001169 | Main Building | Pharmacy | ABC | AA05 | VS-479406 | TRP
134 | Page 20 | 0001170 | Main Building | SUB GRND PUMP ROOM | BC | 332 | F-87312242 | TRP
135 |  | 0001171 | Main Building | WASTE ROOM LAB AREA | BC | 332 | F-87312257 | TRP
136 |  | 0001172 | West Wing | O.R. 1 | Water Mist | B270CG | AD-914127 | RS
137 | Page 20 | 0001173 | West Wing | O.R. 2 | Water Mist | B270CG | AD-914067 | RS
138 |  | 0001174 | West Wing | O.R. 3 | Water Mist | B270CG | AD-914073 | RS
139 |  | 0001175 | West Wing | O.R. 4 | Water Mist | B270CG | AD-914074 | RS
140 |  | 0001176 | West Wing | O.R. 5 | Water Mist | B270CG | AD-914054 | RS
141 | Page 21 | 0001177 | West Wing | O.R. 6 | Water Mist | B270CG | AD-914124 | RS
142 |  | 0001178 | West Wing | O.R. 7 | Water Mist | B270CG | AD-914132 | RS
143 |  | 0001179 | West Wing | O.R. 8 | Water Mist | B270CG | AD-914066 | RS
144 |  | 0001180 | West Wing | O.R. 9 | Water Mist | B270CG | AD-914126 | RS
145 |  | 0001181 | West Wing | O.R. 10 | Water Mist | B270CG | AD-914104 | RS
146 |  | 0001516 | Main Building | Penthouse west wing (at&t) | HALOTRON | 397 | V640477 | TRP
147 |  | 0001553 | Main Building | SECURITY | ABC | TGP106 | NW-343182 | TRP
148 | Page 22 | 0001554 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563038 | TRP
149 |  | 0001555 | Main Building | GROUND CENTER HALLWAY | ABC | SY-0614 | JL-180724 | TRP
150 |  | 0001556 | Main Building | GROUND WASTE ROOM | ABC | SY-0614 | JL-180713 | TRP
151 |  | 0001557 | Main Building | SUB GRND PRINT ROOM | ABC | AA05 | ZP-692257 | TRP
152 |  | 0001582 | East Wing | GND FL - TRAINING ROOM 4 | ABC | 5A40 | 5HI5A4B | TRP
153 |  | 0001590 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | AB-617177 | TRP
154 |  | 0001591 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | Y-586447 | TRP
155 | Page 23 | 0001619 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213563 | TRP
156 |  | 0001620 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213574 | TRP
157 |  | 0001621 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-28705 | TRP | L
158 |  | 0001622 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-29807 | TRP | L
159 |  | 0001626 | Medical Office | 102 Neurology | ABC | B402 | E-82169914 | TRP
160 |  | 0001633 | Medical Office | 102 Neurology | ABC | B402 | F-50544706 | TRP
161 |  | 0001634 | North Wing | Mechanical Room (Outside) | ABC | B402 | F-50525650 | TRP
162 | Page 24 | 0001635 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | WU-312600 | TRP
163 |  | 0001636 | Medical Office | 201 Diabetes Treatment Center | ABC | AA05 | XR-937383 | TRP
164 |  | 0001637 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | XL-544571 | TRP
165 |  | 0001638 | Medical Office | 204 Diabetes Treatment Center | ABC | B456 | E-77632658 | TRP
166 |  | 0001639 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180708 | TRP
167 |  | 0001640 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180728 | TRP
168 |  | 0001641 | Medical Office | 202 Capital Region Urology | ABC | B402 | F-53077095 | TRP
169 | PG 25 | 0001688 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | F-63791729 | TRP
170 |  | 0001689 | West Wing | Cat Scan | Water Mist | B270 | F-58519499 | TRP
171 | Page 25 | 0001691 | Main Building | SUB GRD GENERATOR ROOM | ABC | B402 | F-63789904 | TRP
172 |  | 0001692 | Main Building | SB GRND BED SHOP | ABC | B402 | F-63790455 | TRP
173
174
175
176 | Page 26
177
178
179
180
181
182
183 | Page 27
184
185
186
187
188
189
|  |  | Asset Group: | Fire Extinguisher | Due Date: |  | COMPLETED - A |  |  | 0
|  |  | Monthly PM: | 3613 | 2020-05-01 |  | COMPLETED - B |  |  | 0
|  |  | Annual PM: | 3711 | 2021-03-01 |  | COMPLETED - C |  |  | 0
|  |  | Assigned: | Tom Poole |  |  | NEED NEW |  |  | 0
[7 empty] | LOAN - RECHRG |  |  | 2
[7 empty] | RS |  |  | 26
[7 empty] | TRP |  |  | 146
[7 empty] | TOTAL |  |  | 172
[7 empty] | MISSED |  |  | 0
[7 empty] | REMAINING |  |  | 0
[7 empty] | CHECK SUM |  |  | 2
NOTES:
1) Page numbers represent the page in the Fire Extinguisher Book. This is a Work Sheet and is NOT the official record of Fire Extinguisher Inspections. | [9 empty] | TRPoole
2) Shaded RS are still being Done by Rob Stark (He is in early for the OR's)

## AFE
FIRE EXTINGUISHER INSPECTION - Medical Office Building - AFE List
ASSET # | BUILDING | LOCATION DESCRIPTION | Type of Extinguisher | Model Number | Serial Number | CHK | NOTES / COMMENTS
0001590 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | AB-617177
0001591 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | Y-586447
0001619 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213563
0001620 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213574
0001621 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-28705
0001622 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-29807
0001626 | Medical Office | 102 Neurology | ABC | B402 | E-82169914
0001633 | Medical Office | 102 Neurology | ABC | B402 | F-50544706
0001635 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | WU-312600
0001636 | Medical Office | 201 Diabetes Treatment Center | ABC | AA05 | XR-937383
0001637 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | XL-544571
0001638 | Medical Office | 204 Diabetes Treatment Center | ABC | B456 | E-77632658
0001639 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180708
0001640 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180728
0001641 | Medical Office | 202 Capital Region Urology | ABC | B402 | F-53077095
0001688 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | F-63791729

## FEI POST EAST WING DEMO
FIRE EXTINGUISHER INSPECTION - Albany Memorial Hospital
| PG | ASSET # | BUILDING | LOCATION DESCRIPTION | Type of Extinguisher | Model Number | Serial Number | CHK |  | NOTES / COMMENTS
001 | Page 1 | 0001021 | Main Building | ELEVATOR PENTHOUSE WEST WING | ABC | B456 | CG-560540 |  | TRP
002 |  | 0001022 | Main Building | 7TH FL STAIRWELL WEST WING | ABC | AA05 | ZH-422494 |  | TRP
003 |  | 0001023 | Main Building | 6th Floor SOUTH HALLWAY | ABC | AA05 | ZP-692267 |  | TRP
004 |  | 0001024 | Main Building | 6th Floor WEST WING | ABC | B402 | CE-526829 |  | TRP
005 |  | 0001025 | Main Building | 6th Floor SERVICE ELEVATOR | ABC | AA05 | ZH-422499 |  | TRP
006 |  | 0001027 | Main Building | MAIN STAIRWELL TOP OF LANDING | ABC | AA05 | VS-482087 |  | TRP
007 |  | 0001028 | Main Building | ELEVATOR PENTHOUSE | ABC | B456 | CG-560538 |  | TRP
008 | Page 2 | 0001029 | Main Building | 5th Floor SOUTH HALLWAY | ABC | B402 | CE-526109 |  | TRP
009 |  | 0001030 | Main Building | 5th Floor WEST WING | ABC | AA05 | ZP-692279 |  | TRP
010 |  | 0001031 | Main Building | 5th Floor SERVICE ELEVATOR | ABC | AA05 | XR-937316 |  | TRP
011 |  | 0001032 | Main Building | 5th Floor NORTH HALLWAY | ABC | B402 | CE-524118 |  | TRP
012 |  | 0001033 | Main Building | ADMINISTRATION | ABC | AA05 | VS-479416 |  | TRP
013 |  | 0001034 | Main Building | 4th Floor SOUTH HALLWAY | ABC | B402 | CE-526103 |  | TRP
014 |  | 0001035 | Main Building | 4th Floor SERVICE ELEVATOR | ABC | AA05 | ZP-692256 |  | TRP
015 | Page 3 | 0001036 | Main Building | 4th Floor NORTH HALLWAY | ABC | B402 | CE-500347 |  | TRP
016 |  | 0001037 | Main Building | 4th Floor DTCA HALLWAY | ABC | AA05 | VS-479404 |  | TRP
017 |  | 0001038 | West Wing | HALLWAY 1 | ABC | AA05 | ZP-692255 |  | TRP
018 |  | 0001039 | West Wing | HALLWAY 2 | ABC | B402 | CE-526102 |  | TRP
019 |  | 0001040 | West Wing | Cardio- Pulmonary HALLWAY | ABC | B402 | CE-502018 |  | TRP
020 |  | 0001041 | West Wing | MECHANICAL ROOM | ABC | B456 | CG-560535 |  | TRP
021 |  | 0001042 | West Wing | Infusion / Heart Program | ABC | B402 | CE-502524 |  | TRP
022 | Page 4 | 0001043 | West Wing | CCD | ABC | B402 | CE-525508 |  | TRP
023 |  | 0001044 | Main Building | 3RD FLOOR SOUTH HALLWAY | ABC | B402 | CE-521608 |  | TRP
024 |  | 0001045 | Main Building | 3RD FLOOR WEST WING | ABC | AA05 | XR-937400 |  | TRP
025 |  | 0001046 | Main Building | 3RD FLOOR SERVICE ELEVATOR | ABC | AA05 | SN-990035 |  | TRP
026 |  | 0001047 | Main Building | 3RD FLOOR NORTH HALLWAY | ABC | B402 | SNCE-525512 |  | TRP
027 |  | 0001048 | Main Building | 3RD FLOOR NURSE ADMIN | ABC | AA05 | WK-936817 |  | TRP
028 |  | 0001049 | Main Building | Room 615 Hyperbolic Chambers | ABC | B402 | CE-503150 |  | TRP
029 | Page 5 | 0001050 | Main Building | 2ND FLOOR WEST WING HALLWAY | ABC | AA05 | VS-479415 |  | TRP
030 |  | 0001051 | Main Building | 2ND FLOOR SERVICE ELEVATOR | ABC | AA05 | VS-479418 |  | TRP
031 |  | 0001052 | Main Building | 2ND FLOOR NORTH HALLWAY | ABC | B402 | CE-526831 |  | TRP
032 |  | 0001053 | Main Building | HOSE CABINET | ABC | AA05 | XR-937375 |  | TRP
033 |  | 0001054 | Main Building | BEFORE STAIRS | ABC | B402 | CE-515963 |  | TRP
034 |  | 0001055 | Main Building | NORTH HALLWAY | ABC | AA05 | VS-479423 |  | TRP
035 | P5 | 0001056 | Main Building | BACK DOOR | ABC | AA05 | VS-479426 |  | TRP
036 | Page 6 | 0001057 | Main Building | MECH RM | ABC | B456 | CG-560534 |  | TRP
037 |  | 0001058 | Main Building | TOP OF RAMP | Water Mist | B270 | AC-344551 |  | TRP
038 |  | 0001059 | Main Building | UPPER BACK WALL | ABC | B456 | CG-567291 |  | TRP
039 |  | 0001060 | West Wing | FRONT DESK HALLWAY HOSE CABINET | BC | 322 | R-232755 | ü | RS
040 |  | 0001064 | West Wing | BY PACU HOSE CABINET | Water Mist | B270 | AC-345020 | ü | RS
041 |  | 0001065 | West Wing | BY ROOM 5 HOSE CABINET | ABC | AA05 | ZP-692269 | ü | RS
042 |  | 0001067 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937389 | ü | RS
043 | Page 7 | 0001068 | West Wing | BY ROOM 1 HOSE CABINET | ABC | AA05 | XR-937377 | ü | RS
044 |  | 0001069 | West Wing | BY ROOM 1 HOSE CABINET | Water Mist | B270 | AC-344545 | ü | RS
045 |  | 0001070 | West Wing | BY RM 4 HOSE CABINET | Water Mist | B270 | AC-344540 | ü | RS
046 |  | 0001071 | West Wing | CORE HOSE CABINET | ABC | B456 | YE-638206 | ü | RS
047 |  | 0001072 | Main Building | ELECT. SHOP | BC | FE02 | FE-347374 |  | TRP
048 |  | 0001073 | West Wing | FRONT DESK HOSE CABINET | ABC | AA05 | WK-936837 | ü | RS
049 |  | 0001074 | Main Building | 1ST FLOOR SOUTH HALLWAY | ABC | AA05 | VS-479425 |  | TRP
050 | Page 8 | 0001075 | Main Building | 1ST FLOOR NORTH HALLWAY | ABC | AA05 | WK-936843 |  | TRP
051 |  | 0001076 | North Wing | UPSTAIRS | ABC | B402 | CE-515954 |  | TRP
052 |  | 0001077 | North Wing | DOWN STAIRS | ABC | B402 | CE-525510 |  | TRP
053 |  | 0001078 | Main Building | 1ST FLOOR NORTH WING HALLWAY | ABC | AA05 | VS-479419 |  | TRP
054 |  | 0001079 | Main Building | CONKLIN ROOM | ABC | AA05 | VS-479405 |  | TRP
055 |  | 0001080 | North Wing | TOP OF STAIRS | ABC | B402 | CE-502525 |  | TRP
056 |  | 0001081 | North Wing | DOWN STAIRS | ABC | B402 | CE-526830 |  | TRP
057 | Page 9 | 0001082 | Main Building | FRONT DESK | ABC | B402 | CE-525509 |  | TRP
058 |  | 0001083 | Main Building | BY SEVICE ELEVATOR AREA | ABC | B402 | CE-525517 |  | TRP
059 |  | 0001084 | Main Building | PHYSICAL THERAPY ROOM | ABC | B402 | CE-500348 |  | TRP
060 |  | 0001085 | Main Building | 1ST FLOOR HALLWAY FROM LOBBY | ABC | AA05 | ZP-692252 |  | TRP
061 |  | 0001086 | West Wing | X-RAY - BACK HALLWAY | ABC | AA05 | VS-479401 |  | TRP
062 |  | 0001087 | West Wing | HALLWAY | Water Mist | B270 | X-398037 |  | TRP
063 |  | 0001088 | West Wing | HALLWAY | Water Mist | B270 | X-378279 |  | TRP
064 | Page 10 | 0001089 | West Wing | ED BEHIND MAIN DESK | ABC | AA05 | ZP-692270 |  | TRP
065 |  | 0001090 | West Wing | BACKSIDE PACU | ABC | AA05 | ZP-692239 | ü | RS
066 |  | 0001091 | West Wing | TRIAGE | ABC | AA05 | XR-937382 |  | TRP
067 |  | 0001092 | Main Building | GIFT SHOP | ABC | AA05 | VS-479407 |  | TRP
068 |  | 0001093 | Main Building | GROUND SOUTH HALLWAY | ABC | B456 | CG-566502 |  | TRP
069 | P10 | 0001094 | Main Building | GROUND NORTH HALLWAY | ABC | B456 | CG-560544 |  | TRP
070 |  | 0001095 | Main Building | CABINET BY ELCTRIC SHOP | ABC | B456 | CG-567288 |  | TRP
071 | Page 11 | 0001096 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755444 | ü | RS
072 |  | 0001097 | Main Building | MIS-Telecommunications | BC | CA-0581 | V-0755491 | ü | RS
073 |  | 0001098 | Main Building | GROUND CAFE HOSE CABINET | ABC | B402 | CE-5256104 |  | TRP
074 |  | 0001099 | Main Building | GROUND CAFE GRILL | ABC | LA-0191 | W-0008985 |  | TRP
075 |  | 0001100 | Main Building | GROUND KITCHEN OFFICE | ABC | LA-0191 | W-0008978 |  | TRP
076 |  | 0001101 | Main Building | GROUND KITCHEN OFFICE | ABC | B456 | CG-565539 |  | TRP
077 |  | 0001102 | Main Building | GROUND KITCHEN ENTRANCE | ABC | B456 | CG-566504 |  | TRP
078 | Page 12 | 0001103 | Main Building | GROUND PHONE ROOM | BC | CA-0581 | V-755438 | ü | RS
079 |  | 0001104 | West Wing | GROUND WEST WING MAIN HALLWAY | ABC | AA05 | VS-479422 |  | TRP
080 |  | 0001105 | West Wing | Ground Floor Distribution | ABC | B456 | CG-560073 |  | TRP
081 |  | 0001106 | West Wing | Ground Floor Distribution | ABC | B456 | CG-563034 |  | TRP
082 |  | 0001107 | Main Building | GRND WEST WING MECH RM TOP STAIRS | ABC | B456 | CG-566503 |  | TRP
083 |  | 0001109 | Main Building | GRND WEST WING MECH RM GENERATOR | ABC | B456 | CG-567287 |  | TRP
084 |  | 0001110 | Main Building | GRND WEST WING MECH RM BY DOOR | ABC | B456 | CG-506543 |  | TRP
085 | Page 13 | 0001111 | Main Building | GRND WEST WING MECH RM MTR CONTROL | ABC | B456 | CG-560072 |  | TRP
086 |  | 0001113 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563035 |  | TRP
087 |  | 0001114 | Main Building | GRND WEST WING MECH RM AIR COMP | ABC | B456 | CG-566505 |  | TRP
088 |  | 0001115 | Main Building | GRND WEST WING MECH RM BACK AIR | ABC | B456 | CG-565540 |  | TRP
089 |  | 0001116 | Main Building | GRND WEST WING MECH RM BY BELTS | ABC | B456 | CG-560539 |  | TRP
090 |  | 0001117 | West Wing | OUTSIDE ROOM 4 | ABC | AA05 | XR-937376 | ü | RS
091 |  | 0001118 |  | SPARE | ABC | AA05 | XR-957387 |  | SP
092 | Page 14 | 0001119 | Main Building | 2 SOUTH | ABC | AA05 | XR-937404 |  | TRP
093 |  | 0001121 | Main Building | SUB GRND GOING INTO MECH RM | BC | SY-0572 | W-185396 |  | TRP
094 |  | 0001123 | Main Building | SUB GRND SOUTH HALLWAY | ABC | B402 | CE-525516 |  | TRP
095 |  | 0001125 |  | SPARE | ABC | AA05 | VS-479402 |  | SP
096 |  | 0001127 | Main Building | SUB GRND OLD LAUNDRY | ABC | AA05 | VS-482083 |  | TRP
097 |  | 0001128 | Main Building | SUB GRNDB HVAC SHOP | ABC | B456 | CG-567290 |  | TRP
098 |  | 0001131 | Main Building | GARAGE | ABC | TGP-10G | NJ-618651 |  | TRP
099 | Page 15 | 0001132 | Main Building | SUB GRND SPILL CART | ABC | AA05 | XR-937388 |  | TRP
100 |  | 0001133 | Main Building | SUB GRND MAIN OFFICE | ABC | AA05 | Y-586530 |  | TRP
101 |  | 0001134 | Main Building | SUB GRND NORTH HALLWAY | ABC | B456 | CG-560536 |  | TRP
102 |  | 0001135 | Main Building | 6th Floor NORTH HALLWAY | ABC | AA05 | X-586530 |  | TRP
103 | Page 15 | 0001136 | Main Building | SUB GRND STOCK ROOM | ABC | B402 | CE-500349 |  | TRP
104 |  | 0001138 | Main Building | SUB GRND PAINT SHOP | ABC | AA05 | WK-936855 |  | TRP
105 |  | 0001139 | Main Building | SUB GRND PLUMBING CART | ABC | AA05 | VS-479427 |  | TRP
106 | Page 16 | 0001140 | Main Building | BOILER ROOM | BC | 322 | R-232747 |  | TRP
107 |  | 0001141 | Main Building | BOILER ROOM HOT WORK | ABC | 4-A60 BC | BR-290379 |  | TRP
108 |  | 0001142 | Main Building | GROUND NORTH HALLWAY WASTE ROOM | ABC | B456 | CG-566507 |  | TRP
109 |  | 0001143 | Main Building | GROUND WASTE ROOM HALLWAY | ABC | B456 | CG-565538 |  | TRP
110 |  | 0001144 | Main Building | GROUND WASTE ROOM EXIT | ABC | B456 | CG-566503 |  | TRP
111 |  | 0001145 | West Wing | OUTSIDE ROOM 5 | ABC | AA05 | XR-937390 | ü | RS
112 |  | 0001146 | Grounds | CARP SHOP | Water Can | WS/LS 900 | T-156794 |  | TRP
113 | Page 17 | 0001147 | Grounds | GARAGE | ABC | AA05 | VK-446012 |  | TRP
114 |  | 0001149 | Main Building | GRND WEST WING MECH RM FIRE PANEL | ABC | B456 | KP-181521 |  | TRP
115 |  | 0001150 |  | SPARE | ABC | AA05 | XR-937405 |  | SP
116 |  | 0001151 |  | SPARE | ABC | AA05 | ZP-692228 |  | SP
117 |  | 0001152 |  | SPARE | ABC | AA05 | ZP-692276 |  | SP
118 |  | 0001153 |  | SPARE | ABC | AA05 | VS-479417 |  | SP
119 |  | 0001154 |  | SPARE | ABC | B456 | XN-299086 |  | SP
120 | Page 18 | 0001155 |  | SPARE | ABC | B456 | XN-305923 |  | SP
121 |  | 0001156 |  | SPARE | ABC | TGP-10G | NW-319556 |  | SP
122 |  | 0001157 |  | SPARE | ABC | TGP-10G | NW-319615 |  | SP
123 |  | 0001158 |  | SPARE | ABC | AA05 | ZP-692286 |  | SP
124 |  | 0001159 |  | SPARE | ABC | AA05 | ZP-692266 |  | SP
125 |  | 0001160 |  | SPARE | ABC | AA05 | XR-937403 |  | SP
126 |  | 0001161 | West Wing | BACK HALLWAY | ABC | AA05 | ZP-692239 |  | TRP
127 | Page 19 | 0001162 |  | SPARE | ABC | SY-1014 | MU-714457 |  | SP
128 |  | 0001163 |  | SPARE | ABC | AA05 | ZP-692262 |  | SP
129 |  | 0001164 |  | SPARE | ABC | B402 | E-93410496 |  | SP
130 |  | 0001165 |  | SPARE | ABC | B402 | CE-524116 |  | SP
131 |  | 0001167 |  | SPARE | ABC | B456 | CG-563042 |  | SP
132 |  | 0001168 | Main Building | BIO MED | BC | 322 | R-232766 | ü | RS
133 |  | 0001169 | Main Building | Pharmacy | ABC | AA05 | VS-479406 |  | TRP
134 | Page 20 | 0001170 | Main Building | SUB GRND PUMP ROOM | BC | 5R | P-956492 |  | TRP
135 |  | 0001171 | Main Building | WASTE ROOM LAB AREA | BC | 5RA | T-240922 |  | TRP
136 |  | 0001172 | West Wing | O.R. 1 | Water Mist | B270CG | AD-914127 | ü | RS
137 | Page 20 | 0001173 | West Wing | O.R. 2 | Water Mist | B270CG | AD-914067 | ü | RS
138 |  | 0001174 | West Wing | O.R. 3 | Water Mist | B270CG | AD-914073 | ü | RS
139 |  | 0001175 | West Wing | O.R. 4 | Water Mist | B270CG | AD-914074 | ü | RS
140 |  | 0001176 | West Wing | O.R. 5 | Water Mist | B270CG | AD-914054 | ü | RS
141 | Page 21 | 0001177 | West Wing | O.R. 6 | Water Mist | B270CG | AD-914124 | ü | RS
142 |  | 0001178 | West Wing | O.R. 7 | Water Mist | B270CG | AD-914132 | ü | RS
143 |  | 0001179 | West Wing | O.R. 8 | Water Mist | B270CG | AD-914066 | ü | RS
144 |  | 0001180 | West Wing | O.R. 9 | Water Mist | B270CG | AD-914126 | ü | RS
145 |  | 0001181 | West Wing | O.R. 10 | Water Mist | B270CG | AD-914104 | ü | RS
146 |  | 0001516 | Main Building | Penthouse west wing (at&t) | HALOTRON | 397 | V640477 |  | TRP
147 |  | 0001553 | Main Building | SECURITY | ABC | TGP106 | NW-343182 |  | TRP
148 | Page 22 | 0001554 | Main Building | GRND WEST WING MECH RM CHILLERS | ABC | B456 | CG-563038 |  | TRP
149 |  | 0001555 | Main Building | GROUND CENTER HALLWAY | ABC | SY-0614 | JL-180724 |  | TRP
150 |  | 0001556 | Main Building | GROUND WASTE ROOM | ABC | SY-0614 | JL-180713 |  | TRP
151 |  | 0001557 | Main Building | SUB GRND PRINT ROOM | ABC | AA05 | ZP-692257 |  | TRP
152 |  | 0001582 | Main Building | SPARE - Sub Gnd Cab by Electrical Shop | ABC | 5A40 | 5HI5A4B |  | TRP
153 |  | 0001590 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | AB-617177 |  | TRP
154 |  | 0001591 | Medical Office | G02 Internal Medicine Suite | ABC | AA05 | Y-586447 |  | TRP
155 | Page 23 | 0001619 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213563 |  | TRP
156 |  | 0001620 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | AA05 | KJ-00213574 |  | TRP
157 |  | 0001621 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-28705 |  | TRP
158 |  | 0001622 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | ZX-29807 |  | TRP
159 |  | 0001626 | Medical Office | 102 Neurology | ABC | B402 | E-82169914 |  | TRP
160 |  | 0001633 | Medical Office | 102 Neurology | ABC | B402 | F-50544706 |  | TRP
161 |  | 0001634 | North Wing | Mechanical Room (Outside) | ABC | B402 | F-50525650 |  | TRP
162 | Page 24 | 0001635 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | WU-312600 |  | TRP
163 |  | 0001636 | Medical Office | 201 Diabetes Treatment Center | ABC | AA05 | XR-937383 |  | TRP
164 |  | 0001637 | Medical Office | 201 Diabetes Treatment Center | ABC | B402 | XL-544571 |  | TRP
165 |  | 0001638 | Medical Office | 204 Diabetes Treatment Center | ABC | B456 | E-77632658 |  | TRP
166 |  | 0001639 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180708 |  | TRP
167 |  | 0001640 | Medical Office | 202 Capital Region Urology | ABC | B402 | JL-180728 |  | TRP
168 |  | 0001641 | Medical Office | 202 Capital Region Urology | ABC | B402 | F-53077095 |  | TRP
169 | PG 25 | 0001688 | Medical Office | G01 Multiple Sclerosis & Headache Center | ABC | B402 | F-63791729 |  | TRP
170 |  | 0001689 | West Wing | Cat Scan | Water Mist | B270 | F-58519499 |  | TRP
171 | Page 25 | 0001691 | Main Building | SUB GRD GENERATOR ROOM | ABC | B402 | F-63789904 |  | TRP
172 |  | 0001692 | Main Building | SB GRND BED SHOP | ABC | B402 | F-63790455 |  | TRP
173
174
175
176 | Page 26
177
178
179
180
181
182
183 | Page 27
184
185
186
187
188
189
|  |  | Asset Group: | Fire Extinguisher | Due Date: |  | NEW "DATE" |  |  | 0
|  |  | Monthly PM: | 3613 | 2020-01-01 |  | RETIRED |  |  | 0
|  |  | Annual PM: | 3711 | 2020-03-01 |  | ON LOAN - RECHARGE |  |  | 0
|  |  | Assigned: | Tom Poole |  |  | RS |  |  | 26
[7 empty] | TRP |  |  | 128
[7 empty] | SP (Spare) |  |  | 18
[7 empty] | TOTAL |  |  | 172
[7 empty] | ANNUAL INSP PENDING |  |  | 0
NOTES:
1) Page numbers represent the page in the Fire Extinguisher Book. This is a Work Sheet and is NOT the official record of Fire Extinguisher Inspections. | [9 empty] | TRPoole
2) Shaded RS are still being Done by Rob Stark (He is in early for the OR's)