## AMH Fire Extinguishers
Albany Memorial Portable Fire Extiguisher Inspections
YEAR: | 2018
Location Description | Identifer Number | Type of Extinguisher | Model Number | Serial Number | Type of inspection will be
(M) Monthly - (A) Annual - (R) Recharge - (H) Hydrostatic Testing
[6 empty] | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
MAIN BUILDING FIRE EXTINGUISHERS
Main Elevator Penthouse | 0001028 | ABC | B456 | CG-560538 | Int
Date
Type
6th FL South Hallway | 0001023 | ABC | AA05 | ZP-692267 | Int
Date
Type
6th FL In Front Service Elevator | 0001025 | ABC | AA05 | ZH-422499 | Int
Date
Type
6th FL North Hallway | 0001135 Replaced 0001026 3/7/18 | ABC | AA05 | X-586530 | Int
Date
Type
Main Stairwell Top of Landing | 0001027 | ABC | AA05 | VS-482087 | Int
Date
Type
5th FL South Hallway | 0001029 | ABC | B402 | CE-526109 | Int
Date
Type
5th FL In Front Service Elevator | 0001031 | ABC | AA05 | XR-937316 | Int
Date
Type
5th FL North Hallway | 0001032 | ABC | B402 | CE-524118 | Int
Date
Type
5th FL Ex. Office | 0001033 | ABC | AA05 | VS-479416 | Int
Date
Type
4th FL South Hallway | 0001034 | ABC | B402 | CE-526103 | Int
Date
Type
4th Fl In Front Service Elevator | 0001035 | ABC | AA05 | ZP-692256 | Int
Date
Type
4th FL North Hallway | 0001036 | ABC | B402 | CE-500347 | Int
Date
Type
4th FL DTC Hallway | 0001037 | ABC | AA05 | VS-479404 | Int
Date
Type
3rd FL South Hallway | 0001044 | ABC | B402 | CE-521608 | Int
Date
Type
3rd In Front Service Elevator | 0001046 | ABC | AA05 | SN-990035 | Int
Date
Type
3rd FL North Hallway | 0001047 | ABC | B402 | SNCE-525512 | Int
Date
Type
3rd FL Nurse Ex. Office | 0001048 | ABC | AA05 | WK-936817 | Int
Date
Type
Lab Up the Ramp at Top | 0001058 | Water Mist | B270 | AC-344551 | Int
Date
Type
Lab up on Back Wall | 0001059 | ABC | B456 | CG-567291 | Int
Date
Type
Lab Inside Fire Hose Cabinet | 0001053 | ABC | AA05 | XR-937375 | Int
Date
Type
Lab Before Stairs | 0001054 | ABC | B402 | CE-515963 | Int
Date
Type
Lab North Hallway | 0001055 | ABC | AA05 | VS-479423 | Int
Date
Type
Lab Back Door | 0001056 | ABC | AA05 | VS-479426 | Int
Date
Type
Lab 2nd Mech Room | 0001057 | ABC | B456 | CG-560534 | Int
Date
Type
2nd FL South Hallway | 0001119 | ABC | AA05 | XR-937404 | Int
Date
Type
2nd FL In front Service Elevator | 0001051 | ABC | AA05 | VS-479418 | Int
Date
Type
2nd FL North Hallway | 0001052 | ABC | B402 | CE-526831 | Int
Date
Type
6th FL - HBC Room 615 | 0001049 | ABC | B402 | CE-503150 | Int
Date
Type
1st FL PT Gym Room | 0001084 | ABC | B402 | CE-500348 | Int
Date
Type
1st Fl Conklin Room | 0001079 | ABC | AA05 | VS-479405 | Int
Date
Type
1st H.R. Top of Stairs | 0001080 | ABC | B402 | CE-502525 | Int
Date
Type
1st FL H.R. Down stair | 0001081 | ABC | B402 | CE-526830 | Int
Date
Type
1st FL South Hallway | 0001074 | ABC | AA05 | VS-479425 | Int
Date
Type
1st FL North Hallway | 0001075 | ABC | AA05 | WK-936843 | Int
Date
Type
1st FL North Wing Hallway | 0001078 | ABC | AA05 | VS-479419 | Int
Date
Type
SECURITY | 0001553 | ABC | TGP106 | NW-343182 | Int
Date
Type
Ground Phone Room | 0001103 | BC | CA-0581 | V-755438 | Int
Date
Type
Ground Floor Bio Med | 0001168 | BC | 322 | R-232766 | Int
Date
Type
Ground Café Hose Cabinet | 0001098 | ABC | B402 | CE-5256104 | Int
Date
Type
Ground Café Grill | 0001099 | ABC | LA-0191 | W-0008985 | Int
Date
Type
Ground Kitchen Office | 0001100 | ABC | LA-0191 | W-0008978 | Int
Date
Type
Ground Kitchen Office | 0001101 | ABC | B456 | CG-565539 | Int
Date
Type
Ground Kitchen Entrance | 0001102 | ABC | B456 | CG-566504 | Int
Date
Type
Ground South Hallway | 0001093 | ABC | B456 | CG-566502 | Int
Date
Type
Ground North Hallway | 0001094 | ABC | B456 | CG-560544 | Int
Date
Type
Ground Center Firehouse Cabinet | 0001555 | ABC | SY-0614 | JL-180724 | Int
Date
Type
Ground MIS | 0001096 | BC | CA-0581 | V-0755444 | Int
Date
Type
Ground MIS | 0001097 | BC | CA-0581 | V-0755491 | Int
Date
Type
Ground North Hallway Waste Room | 0001142 | ABC | B456 | CG-566507 | Int
Date
Type
Ground Waste Room Hallway | 0001143 | ABC | B456 | CG-565538 | Int
Date
Type
Waste Room Exit | 0001144 | ABC | B456 | CG-566503 | Int
Date
Type
Waste Room | 0001556 | ABC | SY-0614 | JL-180713 | Int
Date
Type
Lab Waste Room | 0001171 | BC | 5RA | T-240922 | Int
Date
Type
Garage - Carp Shop | 0001146 | Water Can | WS/LS 900 | T-156794 | Int
Date
Type
Garage | 0001131 | ABC | TGP-10G | NJ-618651 | Int
Date
Type
Garage | 0001147 | ABC | AA05 | VK-446012 | Int
Date
Type
Electrical shop | 0001072 | BC | FE02 | FE-347374 | Int
Date
Type
S.G. North Fire Hose Cabinet | 0001095 | ABC | B456 | CG-567288 | Int
Date
Type
Sub Ground Generator Room | 0001129 | BC | 5R | S-641696 | Int
Date
Type
Sub Ground Paint Shop | 0001138 | ABC | AA05 | WK-936855 | Int
Date
Type
Sub Ground Plumbing Shop | 0001139 | ABC | AA05 | VS-479427 | Int
Date
Type
Sub Ground Spill Cart | 0001132 | ABC | AA05 | XR-937388 | Int
Date
Type
Sub Ground Print Room | 0001557 | ABC | AA05 | ZP-692257 | Int
Date
Type
Sub Ground North Hallway | 0001134 | ABC | B456 | CG-560536 | Int
Date
Type
SubGround Maint Office | 0001133 | ABC | AA05 | Y-586530 | Int
Date
Type
Sub Ground Stock Room | 0001136 | ABC | B402 | CE-500349 | Int
Date
Type
Sub Ground Old Laundry | 0001127 | ABC | AA05 | VS-482083 | Int
Date
Type
Sub Ground HVAC Shop | 0001128 | ABC | B456 | CG-567290 | Int
Date
Type
Sub Ground Bed Shop | 0001122 | BC | 5RA | T-241668 | Int
Date
Type
Sub Ground South Hallway | 0001123 | ABC | B402 | CE-525516 | Int
Date
Type
Sub Ground Going into Mech Room | 0001121 | BC | SY-0572 | W-185396 | Int
Date
Type
Sub Ground Pump Room | 0001170 | BC | 5R | P-956492 | Int
Date
Type
Boiler Room | 0001140 | BC | 322 | R-232747 | Int
Date
Type
Boiler Room Hot Work | 0001141 | ABC | 4-A60 BC | BR-290379 | Int
Date
Type
Upstairs Med Rec | 0001076 | ABC | B402 | CE-515954 | Int
Date
Type
Downstairs Med Rec | 0001077 | ABC | B402 | CE-525510 | Int
Date
Type
WEST WING FIRE EXTINGUISHERS
Elevator Pent House West Wing | 0001021 | ABC | B456 | CG-560540 | Int
Date
Type
7th FL Stairwell West Wing | 0001022 | ABC | AA05 | ZH-422494 | Int
Date
Type
AT&T W. W. | 0001516 | HALOTRON | 397 | V640477 | Int
Date
Type
6th FL Cetner West Wing | 0001024 | ABC | B402 | CE-526829 | Int
Date
Type
5th FL Center West Wing | 0001030 | ABC | AA05 | ZP-692279 | Int
Date
Type
4th FL West Wing 1 Hallway | 0001038 | ABC | AA05 | ZP-692255 | Int
Date
Type
4th FL West Win 2 Hallway | 0001039 | ABC | B402 | CE-526102 | Int
Date
Type
4th FL West Wing Cardio Palmonary Hallway | 0001040 | ABC | B402 | CE-502018 | Int
Date
Type
4th FL West Wing Mech Room | 0001041 | ABC | B456 | CG-560535 | Int
Date
Type
Heart Program | 0001042 | ABC | B402 | CE-502524 | Int
Date
Type
CCD | 0001043 | ABC | B402 | CE-525508 | Int
Date
Type
3rd FL Center West Wing | 0001045 | ABC | AA05 | XR-937400 | Int
Date
Type
2nd FL Center West Wing | 0001050 | ABC | AA05 | VS-479415 | Int
Date
Type
1st FL W.W. CT | 0001582 | ABC | 5A40 | 5HI5A4B | Int
Date
Type
1st FL West Wing ED Behind Main Desk | 0001089 | ABC | AA05 | ZP-692270 | Int
Date
Type
1st Fl West Wing ED Back Hallway | 0001161 | ABC | AA05 | ZP-692239 | Int
Date
Type
1st FL West Wing ED Triage | 0001091 | ABC | AA05 | XR-937382 | Int
Date
Type
1st FL West Wing Gift Shop | 0001092 | ABC | AA05 | VS-479407 | Int
Date
Type
1ST FL West Wing Hallway From Lobby | 0001085 | ABC | AA05 | ZP-692252 | Int
Date
Type
1st FL West Wing X-Ray back Hallway | 0001086 | ABC | AA05 | VS-479401 | Int
Date
Type
1st FL West Wing CAT Scan Hallway | 0001087 | Water Mist | B270 | X-398037 | Int
Date
Type
1st FL West Wing MRI Hallway | 0001088 | Water Mist | B270 | X-378279 | Int
Date
Type
1st FL PT Front Desk | 0001082 | ABC | B402 | CE-525509 | Int
Date
Type
1st FL PT by Service Elevator Area | 0001083 | ABC | B402 | CE-525517 | Int
Date
Type
Groudn W. W. Pharmacy | 0001169 | ABC | AA05 | VS-479406 | Int
Date
Type
Ground West Wing Main Hallway | 0001104 | ABC | AA05 | VS-479422 | Int
Date
Type
Ground West Wing Distrbution | 0001105 | ABC | B456 | CG-560073 | Int
Date
Type
Ground West Wing Distrbution | 0001106 | ABC | B456 | CG-563034 | Int
Date
Type
Ground West Wing Mech RM Fire Panel | 0001149 Replaced 0001108 3/7/18 | ABC | B456 | KP-181521 | Int
Date
Type
Ground West Wing Mech Room Chillers | 0001554 | ABC | B456 | CG-563038 | Int
Date
Type
Ground West Wing Mech Room Chillers | 0001113 | ABC | B456 | CG-563035 | Int
Date
Type
Ground West Wing Mech Room Air Comp | 0001114 | ABC | B456 | CG-566505 | Int
Date
Type
Ground West Wing Mech Room Back Air | 0001115 | ABC | B456 | CG-565540 | Int
Date
Type
Ground West Wing Mech Room By Belts | 0001116 | ABC | B456 | CG-560539 | Int
Date
Type
Ground West Wing Mech Top Stairs | 0001107 | ABC | B456 | CG-566503 | Int
Date
Type
Ground West Wing Mech RM Fire Panel | 0001108 REMOVED FROM SERVICE 3/7/18 | ABC | TGP-20G | KG-371943 | Int
Date
Type
Ground West Wing Mech RM Generator | 0001109 | ABC | B456 | CG-567287 | Int
Date
Type
Ground West Wing Mech RM by Door | 0001110 | ABC | B456 | CG-506543 | Int
Date
Type
Ground West Wing Mech RM Motor Control | 0001111 | ABC | B456 | CG-560072 | Int
Date
Type
EAST WING FIRE EXTINGUISHERS
East Wing Penthouse for Elevator | 0001150 | ABC | AA05 | XR-937405 | Int
Date
Type
3rd FL East Wing East Hallway | 0001151 | ABC | AA05 | ZP-692228 | Int
Date
Type
3rd FL East Wing North Hallway | 0001152 | ABC | AA05 | ZP-692276 | Int
Date
Type
3rd FL East Wing Center Hallway | 0001153 | ABC | AA05 | VS-479417 | Int
Date
Type
2nd FL East Wing Center By Elevator | 0001154 | ABC | B456 | XN-299086 | Int
Date
Type
2nd FL East Wing Center Past Door | 0001155 | ABC | B456 | XN-305923 | Int
Date
Type
2nd FL East Wing North Hallway | 0001156 | ABC | TGP-10G | NW-319556 | Int
Date
Type
2nd FL East Wing Hand Center | 0001157 | ABC | TGP-10G | NW-319615 | Int
Date
Type
1st FL East Wing East Hallway | 0001158 | ABC | AA05 | ZP-692286 | Int
Date
Type
1st FL East Wing North Hallway Business Office | 0001159 | ABC | AA05 | ZP-692266 | Int
Date
Type
1st FL East Wing Center Hallway | 0001160 | ABC | AA05 | XR-937403 | Int
Date
Type
Ground East Wing North Hallway | 0001163 | ABC | AA05 | ZP-692262 | Int
Date
Type
Ground East Wing Library | 0001165 | ABC | B402 | CE-524116 | Int
Date
Type
Ground East Wing Library | 0001125 | ABC | AA05 | VS-479402 | Int
Date
Type
Ground FL East Wing Pump Room | 0001164 | BC | 5RA | T-676590 | Int
Date
Type
Ground East Wing Slingerland Room | 0001118 | ABC | AA05 | XR-957387 | Int
Date
Type
Ground East Wing East Hallway | 0001162 | ABC | SY-1014 | MU-714457 | Int
Date
Type
Sub Ground East Wing Print Shop | 0001167 | ABC | B456 | CG-563042 | Int
Date
Type
O.R. FIRE EXTINGUISHERS
By RM 4 Hose Cabinet | 0001070 | Water Mist | B270 | AC-344540 | Int
Date
Type
O.R. Center Core Hose Cabinet | 0001071 | ABC | B456 | YE-638206 | Int
Date
Type
O.R. Front Desk Hose Cabinet | 0001073 | ABC | AA05 | WK-936837 | Int
Date
Type
O.R. Outside RM 5 Hallway Hose Cabinet | 0001065 | ABC | AA05 | ZP-692269 | Int
Date
Type
O.R. Outside RM 5 Hallway Hose Cabinet | 0001145 | ABC | AA05 | XR-937390 | Int
Date
Type
O.R. Outside RM 1 Hallway Hose Cabinet | 0001067 | ABC | AA05 | XR-937389 | Int
Date
Type
O.R. Outside RM 1 Hallway Hose Cabinet | 001068 | ABC | AA05 | XR-937377 | Int
Date
Type
O.R. Outside RM 1 Hallway Hose Cabinet | 0001069 | Water Mist | B270 | AC-344545 | Int
Date
Type
O.R. Front Desk Hallway Hose Cabinet | 0001060 | BC | 322 | R-232755 | Int
Date
Type
O.R. Outside RM 4 Hallway Hose Cabinet | 0001117 | ABC | AA05 | XR-937376 | Int
Date
Type
O.R. Oustside PACU Hose Cabinet | 0001090 | ABC | AA05 | ZP-692239 | Int
Date
Type
O.R. Oustside PACU Hose Cabinet | 0001064 | Water Mist | B270 | AC-345020 | Int
Date
Type
O.R. Room 1 | 0001172 | Water Mist | B270CG | AD-914127 | Int
Date
Type
O.R. Room 2 | 0001173 | Water Mist | B270CG | AD-914067 | Int
Date
Type
O.R. Room 3 | 0001174 | Water Mist | B270CG | AD-914073 | Int
Date
Type
O.R. Room 4 | 0001175 | Water Mist | B270CG | AD-914074 | Int
Date
Type
O.R. Room 5 | 0001176 | Water Mist | B270CG | AD-914054 | Int
Date
Type
O.R. Room 6 | 0001177 | Water Mist | B270CG | AD-914124 | Int
Date
Type
O.R. Room 7 | 0001178 | Water Mist | B270CG | AD-914132 | Int
Date
Type
O.R. Room 8 | 0001179 | Water Mist | B270CG | AD-914066 | Int
Date
Type
O.R. Room 9 | 0001180 | Water Mist | B270CG | AD-914126 | Int
Date
Type
O.R. Room 10 | 0001181 | Water Mist | B270CG | AD-914104 | Int
Date
Type
MEDICALOFFICE BUILDING
Medical Office Building Internal Medicine Suite | 0001590 | ABC | AA05 | AB-617177 | Int
Date
Type
Medical Office Building Internal Medicine Suite | 0001591 | ABC | AA05 | Y-586447 | Int
Date
Type
Medical Office Building Neurology | 0001619 | ABC | AA05 | KJ-00213563 | Int
Date
Type
Medical Office Building Neurology | 0001620 | ABC | AA05 | KJ-00213574 | Int
Date
Type
Medical Office Building Neurology | 0001621 | ABC | B402 | ZX-28705 | Int
Date
Type
Medical Office Building Neurology | 0001622 | ABC | B402 | ZX-29807 | Int
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type

## AMH Fire Extinguishers (Alpha)
Albany Memorial Portable Fire Extiguisher Inspections
YEAR: | 2019
Location Description | Identifer Number | Type of Extinguisher | Model Number | Serial Number | Type of inspection will be
(M) Monthly - (A) Annual - (R) Recharge - (H) Hydrostatic Testing
[6 empty] | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Elevator Pent House West Wing | 0001021 | ABC | B456 | CG-560540 | Int
Date
Type
7th FL Stairwell West Wing | 0001022 | ABC | AA05 | ZH-422494 | Int
Date
Type
6th FL South Hallway | 0001023 | ABC | AA05 | ZP-692267 | Int
Date
Type
6th FL Cetner West Wing | 0001024 | ABC | B402 | CE-526829 | Int
Date
Type
6th FL In Front Service Elevator | 0001025 | ABC | AA05 | ZH-422499 | Int
Date
Type
Main Stairwell Top of Landing | 0001027 | ABC | AA05 | VS-482087 | Int
Date
Type
Main Elevator Penthouse | 0001028 | ABC | B456 | CG-560538 | Int
Date
Type
5th FL South Hallway | 0001029 | ABC | B402 | CE-526109 | Int
Date
Type
5th FL Center West Wing | 0001030 | ABC | AA05 | ZP-692279 | Int
Date
Type
5th FL In Front Service Elevator | 0001031 | ABC | AA05 | XR-937316 | Int
Date
Type
5th FL North Hallway | 0001032 | ABC | B402 | CE-524118 | Int
Date
Type
5th FL Ex. Office | 0001033 | ABC | AA05 | VS-479416 | Int
Date
Type
4th FL South Hallway | 0001034 | ABC | B402 | CE-526103 | Int
Date
Type
4th Fl In Front Service Elevator | 0001035 | ABC | AA05 | ZP-692256 | Int
Date
Type
4th FL North Hallway | 0001036 | ABC | B402 | CE-500347 | Int
Date
Type
4th FL DTC Hallway | 0001037 | ABC | AA05 | VS-479404 | Int
Date
Type
4th FL West Wing 1 Hallway | 0001038 | ABC | AA05 | ZP-692255 | Int
Date
Type
4th FL West Win 2 Hallway | 0001039 | ABC | B402 | CE-526102 | Int
Date
Type
4th FL West Wing Cardio Palmonary Hallway | 0001040 | ABC | B402 | CE-502018 | Int
Date
Type
4th FL West Wing Mech Room | 0001041 | ABC | B456 | CG-560535 | Int
Date
Type
Heart Program | 0001042 | ABC | B402 | CE-502524 | Int
Date
Type
CCD | 0001043 | ABC | B402 | CE-525508 | Int
Date
Type
3rd FL South Hallway | 0001044 | ABC | B402 | CE-521608 | Int
Date
Type
3rd FL Center West Wing | 0001045 | ABC | AA05 | XR-937400 | Int
Date
Type
3rd In Front Service Elevator | 0001046 | ABC | AA05 | SN-990035 | Int
Date
Type
3rd FL North Hallway | 0001047 | ABC | B402 | SNCE-525512 | Int
Date
Type
3rd FL Nurse Ex. Office | 0001048 | ABC | AA05 | WK-936817 | Int
Date
Type
6th FL - HBC Room 615 | 0001049 | ABC | B402 | CE-503150 | Int
Date
Type
2nd FL Center West Wing | 0001050 | ABC | AA05 | VS-479415 | Int
Date
Type
2nd FL In front Service Elevator | 0001051 | ABC | AA05 | VS-479418 | Int
Date
Type
2nd FL North Hallway | 0001052 | ABC | B402 | CE-526831 | Int
Date
Type
Lab Inside Fire Hose Cabinet | 0001053 | ABC | AA05 | XR-937375 | Int
Date
Type
Lab Before Stairs | 0001054 | ABC | B402 | CE-515963 | Int
Date
Type
Lab North Hallway | 0001055 | ABC | AA05 | VS-479423 | Int
Date
Type
Lab Back Door | 0001056 | ABC | AA05 | VS-479426 | Int
Date
Type
Lab 2nd Mech Room | 0001057 | ABC | B456 | CG-560534 | Int
Date
Type
Lab Up the Ramp at Top | 0001058 | Water Mist | B270 | AC-344551 | Int
Date
Type
Lab up on Back Wall | 0001059 | ABC | B456 | CG-567291 | Int
Date
Type
O.R. Front Desk Hallway Hose Cabinet | 0001060 | BC | 322 | R-232755 | Int
Date
Type
O.R. Oustside PACU Hose Cabinet | 0001064 | Water Mist | B270 | AC-345020 | Int
Date
Type
O.R. Outside RM 5 Hallway Hose Cabinet | 0001065 | ABC | AA05 | ZP-692269 | Int
Date
Type
O.R. Outside RM 1 Hallway Hose Cabinet | 0001067 | ABC | AA05 | XR-937389 | Int
Date
Type
O.R. Outside RM 1 Hallway Hose Cabinet | 001068 | ABC | AA05 | XR-937377 | Int
Date
Type
O.R. Outside RM 1 Hallway Hose Cabinet | 0001069 | Water Mist | B270 | AC-344545 | Int
Date
Type
By RM 4 Hose Cabinet | 0001070 | Water Mist | B270 | AC-344540 | Int
Date
Type
O.R. Center Core Hose Cabinet | 0001071 | ABC | B456 | YE-638206 | Int
Date
Type
Electrical shop | 0001072 | BC | FE02 | FE-347374 | Int
Date
Type
O.R. Front Desk Hose Cabinet | 0001073 | ABC | AA05 | WK-936837 | Int
Date
Type
1st FL South Hallway | 0001074 | ABC | AA05 | VS-479425 | Int
Date
Type
1st FL North Hallway | 0001075 | ABC | AA05 | WK-936843 | Int
Date
Type
Upstairs Med Rec | 0001076 | ABC | B402 | CE-515954 | Int
Date
Type
Downstairs Med Rec | 0001077 | ABC | B402 | CE-525510 | Int
Date
Type
1st FL North Wing Hallway | 0001078 | ABC | AA05 | VS-479419 | Int
Date
Type
1st Fl Conklin Room | 0001079 | ABC | AA05 | VS-479405 | Int
Date
Type
1st H.R. Top of Stairs | 0001080 | ABC | B402 | CE-502525 | Int
Date
Type
1st FL H.R. Down stair | 0001081 | ABC | B402 | CE-526830 | Int
Date
Type
1st FL PT Front Desk | 0001082 | ABC | B402 | CE-525509 | Int
Date
Type
1st FL PT by Service Elevator Area | 0001083 | ABC | B402 | CE-525517 | Int
Date
Type
1st FL PT Gym Room | 0001084 | ABC | B402 | CE-500348 | Int
Date
Type
1ST FL West Wing Hallway From Lobby | 0001085 | ABC | AA05 | ZP-692252 | Int
Date
Type
1st FL West Wing X-Ray back Hallway | 0001086 | ABC | AA05 | VS-479401 | Int
Date
Type
1st FL West Wing CAT Scan Hallway | 0001087 | Water Mist | B270 | X-398037 | Int
Date
Type
1st FL West Wing MRI Hallway | 0001088 | Water Mist | B270 | X-378279 | Int
Date
Type
1st FL West Wing ED Behind Main Desk | 0001089 | ABC | AA05 | ZP-692270 | Int
Date
Type
O.R. Oustside PACU Hose Cabinet | 0001090 | ABC | AA05 | ZP-692239 | Int
Date
Type
1st FL West Wing ED Triage | 0001091 | ABC | AA05 | XR-937382 | Int
Date
Type
1st FL West Wing Gift Shop | 0001092 | ABC | AA05 | VS-479407 | Int
Date
Type
Ground South Hallway | 0001093 | ABC | B456 | CG-566502 | Int
Date
Type
Ground North Hallway | 0001094 | ABC | B456 | CG-560544 | Int
Date
Type
S.G. North Fire Hose Cabinet | 0001095 | ABC | B456 | CG-567288 | Int
Date
Type
Ground MIS | 0001096 | BC | CA-0581 | V-0755444 | Int
Date
Type
Ground MIS | 0001097 | BC | CA-0581 | V-0755491 | Int
Date
Type
Ground Café Hose Cabinet | 0001098 | ABC | B402 | CE-5256104 | Int
Date
Type
Ground Café Grill | 0001099 | ABC | LA-0191 | W-0008985 | Int
Date
Type
Ground Kitchen Office | 0001100 | ABC | LA-0191 | W-0008978 | Int
Date
Type
Ground Kitchen Office | 0001101 | ABC | B456 | CG-565539 | Int
Date
Type
Ground Kitchen Entrance | 0001102 | ABC | B456 | CG-566504 | Int
Date
Type
Ground Phone Room | 0001103 | BC | CA-0581 | V-755438 | Int
Date
Type
Ground West Wing Main Hallway | 0001104 | ABC | AA05 | VS-479422 | Int
Date
Type
Ground West Wing Distrbution | 0001105 | ABC | B456 | CG-560073 | Int
Date
Type
Ground West Wing Distrbution | 0001106 | ABC | B456 | CG-563034 | Int
Date
Type
Ground West Wing Mech Top Stairs | 0001107 | ABC | B456 | CG-566503 | Int
Date
Type
Ground West Wing Mech RM Generator | 0001109 | ABC | B456 | CG-567287 | Int
Date
Type
Ground West Wing Mech RM by Door | 0001110 | ABC | B456 | CG-506543 | Int
Date
Type
Ground West Wing Mech RM Motor Control | 0001111 | ABC | B456 | CG-560072 | Int
Date
Type
Ground West Wing Mech Room Chillers | 0001113 | ABC | B456 | CG-563035 | Int
Date
Type
Ground West Wing Mech Room Air Comp | 0001114 | ABC | B456 | CG-566505 | Int
Date
Type
Ground West Wing Mech Room Back Air | 0001115 | ABC | B456 | CG-565540 | Int
Date
Type
Ground West Wing Mech Room By Belts | 0001116 | ABC | B456 | CG-560539 | Int
Date
Type
O.R. Outside RM 4 Hallway Hose Cabinet | 0001117 | ABC | AA05 | XR-937376 | Int
Date
Type
Ground East Wing Slingerland Room | 0001118 | ABC | AA05 | XR-957387 | Int
Date
Type
2nd FL South Hallway | 0001119 | ABC | AA05 | XR-937404 | Int
Date
Type
Sub Ground Going into Mech Room | 0001121 | BC | SY-0572 | W-185396 | Int
Date
Type
Sub Ground Bed Shop | 0001122 | BC | 5RA | T-241668 | Int
Date
Type
Sub Ground South Hallway | 0001123 | ABC | B402 | CE-525516 | Int
Date
Type
Ground East Wing Library | 0001125 | ABC | AA05 | VS-479402 | Int
Date
Type
Sub Ground Old Laundry | 0001127 | ABC | AA05 | VS-482083 | Int
Date
Type
Sub Ground HVAC Shop | 0001128 | ABC | B456 | CG-567290 | Int
Date
Type
Sub Ground Generator Room | 0001129 | BC | 5R | S-641696 | Int
Date
Type
Garage | 0001131 | ABC | TGP-10G | NJ-618651 | Int
Date
Type
Sub Ground Spill Cart | 0001132 | ABC | AA05 | XR-937388 | Int
Date
Type
SubGround Maint Office | 0001133 | ABC | AA05 | Y-586530 | Int
Date
Type
Sub Ground North Hallway | 0001134 | ABC | B456 | CG-560536 | Int
Date
Type
6th FL North Hallway | 0001135 | ABC | AA05 | X-586530 | Int
Date
Type
Sub Ground Stock Room | 0001136 | ABC | B402 | CE-500349 | Int
Date
Type
Sub Ground Paint Shop | 0001138 | ABC | AA05 | WK-936855 | Int
Date
Type
Sub Ground Plumbing Shop | 0001139 | ABC | AA05 | VS-479427 | Int
Date
Type
Boiler Room | 0001140 | BC | 322 | R-232747 | Int
Date
Type
Boiler Room Hot Work | 0001141 | ABC | 4-A60 BC | BR-290379 | Int
Date
Type
Ground North Hallway Waste Room | 0001142 | ABC | B456 | CG-566507 | Int
Date
Type
Ground Waste Room Hallway | 0001143 | ABC | B456 | CG-565538 | Int
Date
Type
Waste Room Exit | 0001144 | ABC | B456 | CG-566503 | Int
Date
Type
O.R. Outside RM 5 Hallway Hose Cabinet | 0001145 | ABC | AA05 | XR-937390 | Int
Date
Type
Garage - Carp Shop | 0001146 | Water Can | WS/LS 900 | T-156794 | Int
Date
Type
Garage | 0001147 | ABC | AA05 | VK-446012 | Int
Date
Type
Ground West Wing Mech RM Fire Panel | 0001149 | ABC | B456 | KP-181521 | Int
Date
Type
East Wing Penthouse for Elevator | 0001150 | ABC | AA05 | XR-937405 | Int
Date
Type
3rd FL East Wing East Hallway | 0001151 | ABC | AA05 | ZP-692228 | Int
Date
Type
3rd FL East Wing North Hallway | 0001152 | ABC | AA05 | ZP-692276 | Int
Date
Type
3rd FL East Wing Center Hallway | 0001153 | ABC | AA05 | VS-479417 | Int
Date
Type
2nd FL East Wing Center By Elevator | 0001154 | ABC | B456 | XN-299086 | Int
Date
Type
2nd FL East Wing Center Past Door | 0001155 | ABC | B456 | XN-305923 | Int
Date
Type
2nd FL East Wing North Hallway | 0001156 | ABC | TGP-10G | NW-319556 | Int
Date
Type
2nd FL East Wing Hand Center | 0001157 | ABC | TGP-10G | NW-319615 | Int
Date
Type
1st FL East Wing East Hallway | 0001158 | ABC | AA05 | ZP-692286 | Int
Date
Type
1st FL East Wing North Hallway Business Office | 0001159 | ABC | AA05 | ZP-692266 | Int
Date
Type
1st FL East Wing Center Hallway | 0001160 | ABC | AA05 | XR-937403 | Int
Date
Type
1st Fl West Wing ED Back Hallway | 0001161 | ABC | AA05 | ZP-692239 | Int
Date
Type
Ground East Wing East Hallway | 0001162 | ABC | SY-1014 | MU-714457 | Int
Date
Type
Ground East Wing North Hallway | 0001163 | ABC | AA05 | ZP-692262 | Int
Date
Type
Ground FL East Wing Pump Room | 0001164 | ABC | B402 | E-93410496 | Int
Date
Type
Ground East Wing Library | 0001165 | ABC | B402 | CE-524116 | Int
Date
Type
Sub Ground East Wing Print Shop | 0001167 | ABC | B456 | CG-563042 | Int
Date
Type
Ground Floor Bio Med | 0001168 | BC | 322 | R-232766 | Int
Date
Type
Groudn W. W. Pharmacy | 0001169 | ABC | AA05 | VS-479406 | Int
Date
Type
Sub Ground Pump Room | 0001170 | BC | 5R | P-956492 | Int
Date
Type
Lab Waste Room | 0001171 | BC | 5RA | T-240922 | Int
Date
Type
O.R. Room 1 | 0001172 | Water Mist | B270CG | AD-914127 | Int
Date
Type
O.R. Room 2 | 0001173 | Water Mist | B270CG | AD-914067 | Int
Date
Type
O.R. Room 3 | 0001174 | Water Mist | B270CG | AD-914073 | Int
Date
Type
O.R. Room 4 | 0001175 | Water Mist | B270CG | AD-914074 | Int
Date
Type
O.R. Room 5 | 0001176 | Water Mist | B270CG | AD-914054 | Int
Date
Type
O.R. Room 6 | 0001177 | Water Mist | B270CG | AD-914124 | Int
Date
Type
O.R. Room 7 | 0001178 | Water Mist | B270CG | AD-914132 | Int
Date
Type
O.R. Room 8 | 0001179 | Water Mist | B270CG | AD-914066 | Int
Date
Type
O.R. Room 9 | 0001180 | Water Mist | B270CG | AD-914126 | Int
Date
Type
O.R. Room 10 | 0001181 | Water Mist | B270CG | AD-914104 | Int
Date
Type
AT&T W. W. | 0001516 | HALOTRON | 397 | V640477 | Int
Date
Type
SECURITY | 0001553 | ABC | TGP106 | NW-343182 | Int
Date
Type
Ground West Wing Mech Room Chillers | 0001554 | ABC | B456 | CG-563038 | Int
Date
Type
Ground Center Firehouse Cabinet | 0001555 | ABC | SY-0614 | JL-180724 | Int
Date
Type
Waste Room | 0001556 | ABC | SY-0614 | JL-180713 | Int
Date
Type
Sub Ground Print Room | 0001557 | ABC | AA05 | ZP-692257 | Int
Date
Type
1st FL W.W. CT | 0001582 | ABC | 5A40 | 5HI5A4B | Int
Date
Type
Medical Office Building Internal Medicine Suite G02 | 0001590 | ABC | AA05 | AB-617177 | Int
Date
Type
Medical Office Building Internal Medicine Suite G02 | 0001591 | ABC | AA05 | Y-586447 | Int
Date
Type
Medical Office Building Neurology G01 | 0001619 | ABC | AA05 | KJ-00213563 | Int
Date
Type
Medical Office Building Neurology G01 | 0001620 | ABC | AA05 | KJ-00213574 | Int
Date
Type
Medical Office Building Neurology G01 | 0001621 | ABC | B402 | ZX-28705 | Int
Date
Type
Medical Office Building Neurology G01 | 0001622 | ABC | B402 | ZX-29807 | Int
Date
Type
Medical Office Building Neurology 102 | 0001626 | ABC | B402 | E-82169914 | Int
Date
Type
Medical Office Building Neurology 102 |  |  |  |  | Int | Oct: Added 10/03
Date
Type
North Wing Mechanical Room (Outside) |  |  |  |  | Int | Oct: Added 10/03
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type
Int
Date
Type