## LOCATIONS
ALBANY MEMORIAL HOSPITAL BED LOCATIONS 2019
APPROX
LOCATION | COUNT
PATIENT ROOMS | 30
WEST WING (4W) | 4
EMERGENCY DEPT. | 2
WOUND CENTER | 9
STORAGE 1/2 | 5
HEART PROGRAM (4W) | 2
BED SHOP SG | 2
OPERATING ROOM | 4
TOTALS | 58

## BEDS
QUARTLY BED INSPECTION - ALBANY MEMORIAL - 2019
Asset # | Asset Description | Serial # | Location | 1st Quarter |  | 2nd Quarter |  | 3rd Quarter |  | 4th Quarter
|  |  |  | JAN | Init. | APR | Init. | JUL | Init. | OCT | Init.
0000501 | SIZEWISE BED #01 | 244586 | nursing floors
0000503 | SIZEWISE BED #03 | 244584 | 6th Floor Wound Care
0000504 | SIZEWISE BED #04 | 224576 | NURSING FLOORS
0000508 | SIZEWISE BED #08 | 224561 | NURSING FLOORS
0000509 | SIZEWISE BED #09 | 244571 | NURSING FLOORS
0000511 | SIZEWISE BED #11 | 224564 | 6th Floor Wound Care
0000512 | SIZEWISE BED #12 | 224558 | NURSING FLOORS
0000515 | SIZEWISE BED #15 | 224563 | NURSING FLOORS
0000517 | SIZEWISE BED #17 | 224579 | NURSING FLOORS
0000520 | SIZEWISE BED #20 | 224568 | Infusion / Heart Program
0000521 | SIZEWISE BED #21 | 224562 | 6th Floor Wound Care
0000522 | SIZEWISE BED #22 | 224557 | NURSING FLOORS
0000524 | SIZEWISE BED #24 | 224572 | 6th Floor Wound Care
0000527 | SIZEWISE BED #27 | 224573 | NURSING FLOORS
0000528 | SIZEWISE BED #28 | 224609 | nursing
0000530 | SIZEWISE BED #30 | 224596 | NURSING FLOORS
0000531 | SIZEWISE BED #31 | 224608 | NURSING FLOORS
0000532 | SIZEWISE BED #32 | 224599 | NURSING FLOORS
0000533 | SIZEWISE BED #33 | 224585 | nursing floors
0000534 | SIZEWISE BED #34 | 224589 | NURSING FLOORS
0000536 | SIZEWISE BED #36 | 224603 | NURSING FLOORS
0000537 | SIZEWISE BED #37 - 1/2 fl | 224591 | IN STORAGE mech room
0000538 | SIZEWISE BED #38 | 224601
0000539 | SIZEWISE BED #39 | 224605 | NURSING FLOORS
0000540 | SIZEWISE BED #40 | 224595 | 6th Floor Wound Care
0000541 | SIZEWISE BED #41 | 554587 | NURSING FLOORS
0000542 | SIZEWISE BED #42 | 224602 | 201
0000543 | SIZEWISE BED #43 | 224578 | NURSING FLOORS
0000544 | SIZEWISE BED #44 | 224604 | 6th Floor Wound Care
0000546 | SIZEWISE BED #46 | 224577 | 6th Floor Wound Care
0000547 | SIZEWISE BED #47 - 1/2 fl | 224606 | IN STORAGE mech room
0000549 | SIZEWISE BED #49 | 224592 | NURSING FLOOR
0000550 | SIZEWISE BED #50 - 1/2 fl | 224600 | IN STORAGE mech room
0000551 | SIZEWISE BED #51 | 224612 | NURSING FLOOR
0000552 | SIZEWISE BED #52 | 224597 | 204
0000554 | SIZEWISE BED #54 | 224588 | NURSING FLOOR
0000555 | SIZEWISE BED #55 | 224590 | NURSING FLOORS
0000556 | SIZEWISE BED #56 | 224582 | nursing
0000559 | SIZEWISE BED #59 | 224583 | NURSING FLOOR
0000560 | SIZEWISE BED #60 | 224626 | nursing floor
0000561 | SIZEWISE BED #61 | 224607 | NURSING FLOOR
0000562 | SIZEWISE BED #62 | 224633 | NURSING FLOOR
0000563 | SIZEWISE BED #63 | 224616 | 6th Floor Wound Care
0000564 | SIZEWISE BED #64 | 224624 | nursing
0000565 | SIZEWISE BED #65 | 224611 | bed shop
0000567 | SIZEWISE BED #67 | 224632 | bed shop
0000569 | SIZEWISE BED #69 | 224618 | 203
0000570 | SIZEWISE BED #70 | 224620 | NURSING FLOOR
0000572 | SIZEWISE BED #72 | 224631
0000574 | SIZEWISE BED #74 | 224629 | 6th Floor Wound Care
0000575 | SIZEWISE BED #75- 1/2 fl | 224635 | IN STORAGE mech room
0000578 | SIZEWISE BED #78 | 224628 | NURSING FLOOR
0000579 | SIZEWISE BED #79 | 224634 | NURSING FLOOR
0000580 | SIZEWISE BED #80 | 224622 | NURSING FLOOR
0000581 | SIZEWISE BED #81 | 224613 | NURSING FLOOR
0000582 | SIZEWISE BED #82 | 224630 | Infusion / Heart Program
0000583 | SIZEWISE BED #83- 1/2 fl | 224615 | IN STORAGE mech room
0000585 | SIZEWISE BED #85 | 224614 | NURSING FLOOR
0000587 | CRITICAL CARE BED #C01 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000588 | CRITICAL CARE BED #C02 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000589 | CRITICAL CARE BED #C03 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000590 | CRITICAL CARE BED #C04 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000591 | CRITICAL CARE BED #C05 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000592 | CRITICAL CARE BED #C06 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000593 | CRITICAL CARE BED #C07 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000594 | CRITICAL CARE BED #C08 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000595 | CRITICAL CARE BED #C09 | WW | CCD N195AM0727 |  |  | SA | SA |  |  | SA | SA
0000596 | CRITICAL CARE BED #C10 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000597 | CRITICAL CARE BED #C11 | WW | CCD |  |  | SA | SA |  |  | SA | SA
0000598 | CRITICAL CARE BED #C12 | WW | CCD |  |  | SA | SA |  |  | SA | SA
NOTE: First and Second Quarter Inspections Done by J. Gormam. PM's Transferred to T.Poole 06/20/2019.

## STRETCHERS
QUARTLY STRETCHER INSPECTION - ALBANY MEMORIAL - 2019
Asset # | Asset Description | Serial # | Location | 1st Quarter |  | 2nd Quarter |  | 3rd Quarter |  | 4th Quarter
|  |  |  | JAN | Init. | APR | Init. | JUL | Init. | OCT | Init.
0001182 | STRYKER STRETCHER |  | Emergency Dept.
0001183 | STRYKER STRETCHER |  | Emergency Dept.
0001184 | STRYKER STRETCHER |  | Emergency Dept.
0001185 | STRYKER STRETCHER |  | Emergency Dept.
0001366 | PEDIGO STRETCHER |  | Endoscopy
0001603 | STRYKER STRETCHER | 9508031125 | Medical Imaging Admin
0001604 | STRYKER STRETCHER | 9604030722 | Medical Imaging Admin
0001608 | STRYKER STRETCHER | 0810101155 | Ambulatory Surgery
0001614 | STRYKER STRETCHER | 2017006600600 | Endoscopy
0001625 | STRYKER STRETCHER | 2018006600058 | Endoscopy
0001627 | STRETCHER | 2018006703496 | Endoscopy
0001628 | STRETCHER | 2018006703497 | Endoscopy
4326 | MIDMARK STRETCHER | TAV002798 | STRESS ROOM
5570 | MIDMARK STRETCHERS | TEW001490 | Medical Imaging Admin
6068 | STRYKER STRETCHER | 9601031413 | Ambulatory Surgery
6069 | STRYKER STRETCHER | 9601031910 | Ambulatory Surgery
6655 | MIDMARK STRETCHER | TEW005042 | Medical Imaging Admin
6899 | STRYKER STRETCHER | 9911030208 | Cardio- Pulmonary
7482 | OMNI STRETCHER | TEW009478 | Medical Imaging Admin
7558 | STRYKER STRETCHER | 0304053750 | Emergency Dept.
7569 | STRYKER STRETCHER | 0306050019 | Medical Imaging Admin
7737 | STRYKER STRETCHER | 0409062849 | Diagnotic Imaging
8175 | PEDIGO STRETCHER | 019902 | Diagnotic Imaging
8176 | PEDIGO STRETCHER | 019953 | Medical Imaging Admin
8177 | PEDIGO STRETCHER | 019899 | Medical Imaging Admin
8178 | STRYKER STRETCHER | 0511075693 | Emergency Dept. | REMOVED FROM SERVICE
8179 | STRYKER STRETCHER | 0511075696 | Emergency Dept.
8181 | STRYKER STRETCHER | 0511075692 | Emergency Dept.
8182 | STRYKER STRETCHER | 0511075695 | Emergency Dept.
8183 | STRYKER STRETCHER | 0511075694 | Emergency Dept.
8472 | ARD STRETCHER | AR06010 | MRI
8533 | STRYKER STRETCHER | 0710088995 | Emergency Dept.
8534 | STRYKER STRETCHER | 0710088994 | Emergency Dept.
8681 | STRYKER STRETCHER | 0805104041 | Emergency Dept. | REMOVED FROM SERVICE
8682 | STRYKER STRETCHER | 0805104040 | Emergency Dept.
8683 | STRYKER STRETCHER | 0805104032 | Emergency Dept.
8684 | STRYKER STRETCHER | 0805104042 | Emergency Dept.
8685 | STRYKER STRETCHER | 0805104038 | Emergency Dept.
8688 | STRYKER STRETCHER | 0805104036 | Emergency Dept.
8689 | STRYKER STRETCHER | 0805104031 | Emergency Dept.
8690 | STRYKER STRETCHER | 0805104037 | Emergency Dept.
8691 | STRYKER STRETCHER | 0805104035 | Emergency Dept.
8692 | STRYKER STRETCHER | 0805104043 | Emergency Dept.
8693 | STRYKER STRETCHER | 0805104034 | Emergency Dept.
8694 | STRYKER STRETCHER | 507072117 | Ambulatory Surgery
8695 | STRYKER STRETCHER | 507072119 | Ambulatory Surgery
8696 | STRYKER STRETCHER | 507072118 | Ambulatory Surgery
8697 | STRYKER STRETCHER | 507072115 | Ambulatory Surgery
8698 | STRYKER STRETCHER | 507072116 | Ambulatory Surgery
8987 | STRYKER STRETCHER | 0912032147 | Ambulatory Surgery
8988 | STRYKER STRETCHER | 0912032144 | Ambulatory Surgery
8989 | STRYKER STRETCHER | 0912032145 | Ambulatory Surgery
9126 | STRYKER STRETCHER | 0810099769 | Ambulatory Surgery
9532 | STRYKER STRETCHER | 0810101154 | Ambulatory Surgery
9595 | STRYKER STRETCHER | 1010032222 | Emergency Dept.
9680 | STRYKER STRETCHER | 0902033011 | Endoscopy
9681 | STRYKER STRETCHER | 1110-030869 | Endoscopy
9682 | STRYKER STRETCHER | 1110-030868 | Endoscopy
9683 | STRYKER STRETCHER | 0902033012 | Endoscopy
9708 | STRYKER STRETCHER | 1203030339 | Ambulatory Surgery
9709 | STRYKER STRETCHER | 1203030340 | Ambulatory Surgery
9710 | STRYKER STRETCHER | 12030338 | Ambulatory Surgery
9713 | STRYKER STRETCHER | 1203031155 | Emergency Dept.
9714 | STRYKER STRETCHER | 1203031154 | Emergency Dept.
9715 | STRYKER STRETCHER | 1203031157 | Emergency Dept.
9716 | STRYKER STRETCHER | 1203031156 | Emergency Dept.
9717 | STRYKER STRETCHER | 1204033883 | Endoscopy
9718 | STRYKER STRETCHER | 1204033884 | Endoscopy
9736 | STRYKER STRETCHER | 1206031109 | Endoscopy
9773 | STRYKER STRETCHER | 1307042764 | Ambulatory Surgery
9774 | STRYKER STRETCHER | 1307042765 | Ambulatory Surgery
9775 | STRYKER STRETCHER | 1110035047 | Emergency Dept.
9776 | STRYKER STRETCHER | 0808099667 | Emergency Dept.
9777 | STRYKER STRETCHER | 1010032224 | Emergency Dept.
9778 | STRYKER STRETCHER | 080899666 | Emergency Dept.
9779 | STRYKER STRETCHER | 1110035048 | Emergency Dept.
9780 | STRYKER STRETCHER | 0808099668 | Emergency Dept.
9781 | STRYKER STRETCHER | 1010032221 | Emergency Dept.
9783 | STRYKER STRETCHER | 0902033010 | Endoscopy
9784 | STRYKER STRETCHER | 0912032146 | Ambulatory Surgery
9785 | STRYKER STRETCHER | 0810099770 | Ambulatory Surgery
16022 | MIDMARK STRETCHER | TEW002000 | Medical Imaging Admin
NOTE: First and Second Quarter Inspections Done by J. Gormam. PM's Transferred to T.Poole 06/20/2019.

## BEDS - STRETCHER TMS LIST
BEDS
Asset # | Asset Description | Building Name | Location
0000501 | SIZEWISE BED #01 | Main Building | nursing floors
0000503 | SIZEWISE BED #03 | Main Building | 6th Floor Wound Care
0000504 | SIZEWISE BED #04 | Main Building | NURSING FLOORS
0000508 | SIZEWISE BED #08 | Main Building | NURSING FLOORS
0000509 | SIZEWISE BED #09 | Main Building | NURSING FLOORS
0000511 | SIZEWISE BED #11 | Main Building | 6th Floor Wound Care
0000512 | SIZEWISE BED #12 | Main Building | NURSING FLOORS
0000515 | SIZEWISE BED #15 | Main Building | NURSING FLOORS
0000517 | SIZEWISE BED #17 | Main Building | NURSING FLOORS
0000520 | SIZEWISE BED #20 | West Wing | Infusion / Heart Program
0000521 | SIZEWISE BED #21 | Main Building | 6th Floor Wound Care
0000522 | SIZEWISE BED #22 | Main Building | NURSING FLOORS
0000524 | SIZEWISE BED #24 | Main Building | 6th Floor Wound Care
0000527 | SIZEWISE BED #27 | Main Building | NURSING FLOORS
0000528 | SIZEWISE BED #28 | Main Building | nursing
0000530 | SIZEWISE BED #30 | Main Building | NURSING FLOORS
0000531 | SIZEWISE BED #31 | Main Building | NURSING FLOORS
0000532 | SIZEWISE BED #32 | Main Building | NURSING FLOORS
0000533 | SIZEWISE BED #33 | Main Building | nursing floors
0000534 | SIZEWISE BED #34 | Main Building | NURSING FLOORS
0000536 | SIZEWISE BED #36 | Main Building | NURSING FLOORS
0000537 | SIZEWISE BED #37- 1/2 floor | Main Building | IN STORAGE mech room
0000538 | SIZEWISE BED #38 | Main Building
0000539 | SIZEWISE BED #39 | Main Building | NURSING FLOORS
0000540 | SIZEWISE BED #40 | Main Building | 6th Floor Wound Care
0000541 | SIZEWISE BED #41 | Main Building | NURSING FLOORS
0000542 | SIZEWISE BED #42 | Main Building | 201
0000543 | SIZEWISE BED #43 | Main Building | NURSING FLOORS
0000544 | SIZEWISE BED #44 | Main Building | 6th Floor Wound Care
0000546 | SIZEWISE BED #46 | Main Building | 6th Floor Wound Care
0000547 | SIZEWISE BED #47- 1/2 floor | Main Building | IN STORAGE mech room
0000549 | SIZEWISE BED #49 | Main Building | NURSING FLOOR
0000550 | SIZEWISE BED #50 - 1/2 FLOOR | Main Building | SUB GROUND MECH RM - storage
0000551 | SIZEWISE BED #51 | Main Building | NURSING FLOOR
0000552 | SIZEWISE BED #52 | Main Building | 204
0000554 | SIZEWISE BED #54 | Main Building | NURSING FLOOR
0000555 | SIZEWISE BED #55 | Main Building | NURSING FLOORS
0000556 | SIZEWISE BED #56 | Main Building | nursing
0000559 | SIZEWISE BED #59 | Main Building | NURSING FLOOR
0000560 | SIZEWISE BED #60 | Main Building | nursing floor
0000561 | SIZEWISE BED #61 | Main Building | NURSING FLOOR
0000562 | SIZEWISE BED #62 | Main Building | NURSING FLOOR
0000563 | SIZEWISE BED #63 | Main Building | 6th Floor Wound Care
0000564 | SIZEWISE BED #64 | Main Building | nursing
0000565 | SIZEWISE BED #65 | Main Building | bed shop
BEDS
Asset # | Asset Description | Building Name | Location
0000567 | SIZEWISE BED #67 | Main Building | bed shop
0000569 | SIZEWISE BED #69 | Main Building | 203
0000570 | SIZEWISE BED #70 | Main Building | NURSING FLOOR
0000572 | SIZEWISE BED #72 | Main Building
0000574 | SIZEWISE BED #74 | Main Building | 6th Floor Wound Care
0000575 | SIZEWISE BED #75- 1/2 floor | Main Building | IN STORAGE
0000578 | SIZEWISE BED #78 | Main Building | NURSING FLOOR
0000579 | SIZEWISE BED #79 | Main Building | NURSING FLOOR
0000580 | SIZEWISE BED #80 | Main Building | NURSING FLOOR
0000581 | SIZEWISE BED #81 | Main Building | NURSING FLOOR
0000582 | SIZEWISE BED #82 | West Wing | Infusion / Heart Program
0000583 | SIZEWISE BED #83- 1/2 floor | Main Building | storage- mech room
0000585 | SIZEWISE BED #85 | Main Building | NURSING FLOOR
0000587 | CRITICAL CARE BED #C01 | West Wing | CCD
0000588 | CRITICAL CARE BED #C02 | West Wing | CCD
0000589 | CRITICAL CARE BED #C03 | West Wing | CCD
0000590 | CRITICAL CARE BED #C04 | West Wing | CCD
0000591 | CRITICAL CARE BED #C05 | West Wing | CCD
0000592 | CRITICAL CARE BED #C06 | West Wing | CCD
0000593 | CRITICAL CARE BED #C07 | West Wing | CCD
0000594 | CRITICAL CARE BED #C08 | West Wing | CCD
0000595 | CRITICAL CARE BED #C09 | West Wing N195AM0727 | CCD
0000596 | CRITICAL CARE BED #C10 | West Wing | CCD
0000597 | CRITICAL CARE BED #C11 | West Wing | CCD
0000598 | CRITICAL CARE BED #C12 | West Wing | CCD
STRETCHERS
Asset # | Asset Description | Building Name | Location
0001182 | STRYKER STRETCHER | West Wing | Emergency Dept.
0001183 | STRYKER STRETCHER | West Wing | Emergency Dept.
0001184 | STRYKER STRETCHER | West Wing | Emergency Dept.
0001185 | STRYKER STRETCHER | West Wing | Emergency Dept.
0001366 | PEDIGO STRETCHER | Main Building | Endoscopy
0001603 | STRYKER STRETCHER | West Wing | Medical Imaging Administration
0001604 | STRYKER STRETCHER | West Wing | Medical Imaging Administration
0001608 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
0001614 | STRYKER STRETCHER | Main Building | Endoscopy
0001625 | STRYKER STRETCHER | Main Building | Endoscopy
0001627 | STRETCHER | Main Building | Endoscopy
0001628 | Stretcher | Main Building | Endoscopy
16022 | MIDMARK STRETCHER | West Wing | Medical Imaging Administration
4326 | MIDMARK STRETCHER | West Wing | STRESS ROOM
5570 | MIDMARK STRETCHERS | West Wing | Medical Imaging Administration
6068 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
6069 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
6655 | MIDMARK STRETCHER | West Wing | Medical Imaging Administration
6899 | STRYKER STRETCHER | West Wing | Cardio- Pulmonary
7482 | OMNI STRETCHER | West Wing | Medical Imaging Administration
7558 | STRYKER STRETCHER | West Wing | Emergency Dept.
7569 | STRYKER STRETCHER | West Wing | Medical Imaging Administration
7737 | STRYKER STRETCHER | West Wing | Diagnotic Imaging
8175 | PEDIGO STRETCHER | West Wing | Diagnotic Imaging
8176 | PEDIGO STRETCHER | West Wing | Medical Imaging Administration
8177 | PEDIGO STRETCHER | West Wing | Medical Imaging Administration
8178 | STRYKER STRETCHER | West Wing | Emergency Dept.
8179 | STRYKER STRETCHER | West Wing | Emergency Dept.
8181 | STRYKER STRETCHER | West Wing | Emergency Dept.
8182 | STRYKER STRETCHER | West Wing | Emergency Dept.
8183 | STRYKER STRETCHER | West Wing | Emergency Dept.
8472 | ARD STRETCHER | West Wing | MRI
8533 | STRYKER STRETCHER | West Wing | Emergency Dept.
8534 | STRYKER STRETCHER | West Wing | Emergency Dept.
8681 | STRYKER STRETCHER | West Wing | Emergency Dept.
8682 | STRYKER STRETCHER | West Wing | Emergency Dept.
8683 | STRYKER STRETCHER | West Wing | Emergency Dept.
8684 | STRYKER STRETCHER | West Wing | Emergency Dept.
8685 | STRYKER STRETCHER | West Wing | Emergency Dept.
8688 | STRYKER STRETCHER | West Wing | Emergency Dept.
8689 | STRYKER STRETCHER | West Wing | Emergency Dept.
8690 | STRYKER STRETCHER | West Wing | Emergency Dept.
8691 | STRYKER STRETCHER | West Wing | Emergency Dept.
8692 | STRYKER STRETCHER | West Wing | Emergency Dept.
8693 | STRYKER STRETCHER | West Wing | Emergency Dept.
STRETCHERS
Asset # | Asset Description | Building Name | Location
8694 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8695 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8696 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8697 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8698 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8987 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8988 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
8989 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9126 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9532 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9595 | STRYKER STRETCHER | West Wing | Emergency Dept.
9680 | STRYKER STRETCHER | Main Building | Endoscopy
9681 | STRYKER STRETCHER | Main Building | Endoscopy
9682 | STRYKER STRETCHER | Main Building | Endoscopy
9683 | STRYKER STRETCHER | Main Building | Endoscopy
9708 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9709 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9710 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9713 | STRYKER STRETCHER | West Wing | Emergency Dept.
9714 | STRYKER STRETCHER | West Wing | Emergency Dept.
9715 | STRYKER STRETCHER | West Wing | Emergency Dept.
9716 | STRYKER STRETCHER | West Wing | Emergency Dept.
9717 | STRYKER STRETCHER | Main Building | Endoscopy
9718 | STRYKER STRETCHER | Main Building | Endoscopy
9736 | STRYKER STRETCHER | Main Building | Endoscopy
9773 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9774 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9775 | STRYKER STRETCHER | West Wing | Emergency Dept.
9776 | STRYKER STRETCHER | West Wing | Emergency Dept.
9777 | STRYKER STRETCHER | West Wing | Emergency Dept.
9778 | STRYKER STRETCHER | West Wing | Emergency Dept.
9779 | STRYKER STRETCHER | West Wing | Emergency Dept.
9780 | STRYKER STRETCHER | West Wing | Emergency Dept.
9781 | STRYKER STRETCHER | West Wing | Emergency Dept.
9783 | STRYKER STRETCHER | Main Building | Endoscopy
9784 | STRYKER STRETCHER | Main Building | Ambulatory Surgery
9785 | STRYKER STRETCHER | Main Building | Ambulatory Surgery